ANNEURE-2 OF PTS

|  | TECHNICAL OFFER SUBMITTALS CHECK SHEET | Project MRS1 |
| --- | --- | --- |
| Aggregate : | POWER QUALITY MEASUREMENT SYSTEM | PTS DOC No.: GR/TD/4872 |
| BEML Enquiry/ RFQ Reference : |  |  |

| SL.NO. | DETAILS | SUBMITTED | NOT SUBMITTED | DOC. REF |
| --- | --- | --- | --- | --- |
| 1 | Complete Technical Offer for Power Quality Measurement System shall include the following at a minimum, System Description with Instrumentation details Power Analyzer details Connecting harness details Installation Dimensions and drawings 2D-3D drawings of PT/CT and Power analyzer Measurement Accuracy Details Relevant Standards information Compliance to shock and vibration requirement as per EN61373. Electrical safety requirement Calibration details |  |  |  |
| 2 | Supporting documents for qualification criteria Previous similar supply record. |  |  |  |
| 3 | Clause-wise comments against the PTS |  |  |  |
| 4 | Clause-wise comments to ERTS & ERGS |  |  |  |
| 5 | DLP spares list |  |  |  |

Note : Incomplete submissions are liable for Rejection.

------------------------------------------

Signature of the Bidder with Seal