BEML LIMITED,

(A Govt. of India undertaking)

MYSORE – 570 018

ISSUED TO: 6300038084

INDEX SHEET

SUB: Maintenance contract for maintenance of Effluent Treatment plants at Equipment Division, Engine division & Township, BEML Limited, Mysore, for Two years period (2022-24)

| Sl. No. | Particulars | Serial page Numbers |
| --- | --- | --- |
| 01. | Index sheet | 1 |
| 02. | Tender notification | 2 to 6 |
| 03 | Covering letter of the tender | 7 to 8 |
| 04 | Details of Technical bid & Commercial bids | 9 |
| 04. | Eligibility criteria | 10 to 11 |
| 05. | Annexure – I | 12 |
| 05. | Annexure – II | 13 |
| 05. | Annexure – III | 14 |
| 06. | General conditions of contract | 15 to 24 |
| 07. | Terms and conditions of contract | 25 to 27 |
| 08. | Special terms & conditions of contract (A) & (B) | 28 to 30 |
| 09. | Scope of work | 31 to 35 |
| 10. | Penalty Clause | 36 |
| 11. | Schedule ‘A’ Bill of quantities | 37 to 41 |
| Total Pages |  | 41 |

- Sd -

Dy. GEN MANAGER (MATERIALS)			SIGNATURE OF CONTRACTOR(S)

BEML LIMITED

(A GOVERNMENT OF INDIA UNDERTAKING)

MYSORE COMPLEX, BELAVADI POST,

MYSORE: 570 018.

Telephone: 0821-2400225

FAX :0821-2402801

Email: ymn@beml.co.in

Tender (BID) No. : 6300038084

Tenders for the following work are invited by the Dy. Gen. Manager (Materials), BEML, Mysore complex, Belavadi post, Mysore – 570 018 in TWO BID SYSTEMS (Technical Bid & Commercial Bid), thro’ e-mode from eligible reputed firms/contractors.

| Sl. No. | Item Description | EMD Amount (Rs) | Tender No |
| --- | --- | --- | --- |
| 1 | Maintenance contract for maintenance of Effluent Treatment plants at Equipment Division, Engine division & Township, BEML Limited, Mysore, for Two years period (2022-24) | Rs. 1,66,000.00 | 6300038084 |

For Bid details (Technical and Commercial) kindly refer Collaboration folder of BID NO.  6300038084

Tender documents are available in our website http://www.bemlindia.com

To download the tender documents, visit www.bemlindia.com  Purchase

e-Procurement (SRM)		 Log In

Log In using the tab ‘Guest Login’ and  click ‘Process Bid’ & click on the Tender No.                         mentioned in the table above to see the details of the tender and download the tender documents.

- Interested agencies can contact us through e-mail: admin.srm@beml.co.in to obtain the username & password for submitting the bids, if already not having User ID and Password with our system.

- Tender will be in two parts. ie., Technical Bid & Price Bid.

- The last date for submission of bid is As per SRM.

- Instructions for submission of the bids:

- Technical Bids & Commercial bid are to be submitted through electronic mode only in the SRM system.

- Bidder should attach Account Payee Demand Draft, Banker’s Cheque from any of the Scheduled Commercial Banks authorised by RBI excluding Regional Rural Banks or payment online before closing date of the bid by NEFT/ RTGS for Rs. 1,66,000.00 in favour of M/s. BEML Limited, Mysore Complex along with tender towards Earnest Money Deposit.  For online payment (Wire Transfer), Please make use of the following bank Details

In case the EMD amount exceeds PEMD amount the difference has to be paid as specified above.

ACCOUNT NAME: BEML LIMITED

ACCOUNT NO      : 10562407488

ISFC CODE             : SBIN0003130

BANK NAME         : STATE BANK OF INDIA, MYSORE, MAIN BRANCH

SWIFT CODE         : SBININBB170

Where ever EMD is remitted digitally, firm shall indicate remittance details along with pre-qualification document.

- In case of Firm claiming Exemption for EMD amount under MSME category, (only Micro & Small Enterprises are eligible for exemption) NSIC / MSME certificate should be submitted in a sealed cover super scribing the bid reference & closing date, so as to reach BEML, Mysore, before the bid closing date.

General Instructions with regard to EMD:

- Quotation submitted online without submission of EMD/EMD Exemption Certificate with due date and time will not be considered.

- EMD submitted in any other form will not be accepted and the offer is liable to be rejected.

- EMD lesser than Rs. 1,66,000.00/- will not be accepted and the quotation is liable to be rejected.

- EMD of technically disqualified bidder’s will be returned. EMD of successful bidder will be released after supply and installation.

- EMD does not carry any interest on return.

- EMD will be forfeited if any firm withdraws the tender submitted or refuses to execute the order for reasons whatsoever.

- EMD in the form of online payment is to be made before the bid closing date and time. EMD in the form of DD / Banker’s Cheque or NSIC certificate, MSME Certificate (firms claiming EMD exemption) etc to be submitted through courier/post in a sealed cover, super scribing the bid number and closing date, address etc. before the bid closing date. Failure to do so will result in rejection of the bid.

- Tender shall be opened on closing date.

No responsibility will be taken for postal delays or non-delivery/non receipt of EMD/ EMD exemption certificate.

- Submission of Technical Bid:

  - Please upload all the Documents pertaining to, Technical bid documents in the Collaboration Folder in the system and ensure that no price details are mentioned in any of the documents uploaded as part of the Technical Bid.

  - Corrigendum regarding the tender if any (Extension) will be published in BEML web site only before the tender closing date. Bidders to make note of the above and check the website before tender closing date / time to have the latest communication / update.

  - Documents as indicated in the, Technical Bid and NIT acceptance letter are to be uploaded in Collaboration Folder on SRM Platform. (Commercial bids of the bidder will be opened only if all the Mandatory Qualification Criteria are fulfilled and qualified through technical evaluation. Hence the bidders are advised to ensure upload of all the required documents carefully.)

  - EMD/MSME/NSIC Certificate   as per Pre-qualification Criteria should be submitted by post - addressed to DGM-Materials, BEML Limited, Belavadi Post, Truck Division, Mysore, 570018 before the closing date super scribing our Tender Number.  Technical Bids will be opened for the bidders who have qualified in pre-qualification criteria. Documents as indicated in the Mandatory Qualification Criteria, Technical Bid & and NIT acceptance letter are to be uploaded in Collaboration Folder on SRM Platform. (Commercial bids of the bidder will be opened only if all the Mandatory Qualification Criteria and technical requirements are fulfilled and qualified through technical evaluation. Hence the bidders are advised to ensure uploading of all the required documents carefully.)

  - The tender documents will be considered at the sole discretion of M/s BEML LIMITED, whose decision in the matter will be Final & Binding

- Digital Signature

Please note that as per the directives from Ministry of Defence, Class 3 Digital Signature is mandatory for submission of bid on BEML e-Procurement system. System will not accept Class 1 or Class 2 Digital Signatures. Please note that activation of the Digital Signature Token in our system happens after 12.00 midnight from the Start Date of the validity, i.e. the next date after the Start Date of the validity. Hence in case you are getting a new Class 3 Digital Signature Token or arranging renewal of the existing Class 3 Digital Signature Token, it is advisable to get the same at least two days before the due-date of the tender. In case of any queries on Digital Signature or submission of bid in the system, please contact BEML SRM Team on 080-22963269, 080-22963141 or e-mail to admin.srm@beml.co.in.

- Submission of Commercial Bid:

  - Please quote the price details in ‘Item Data’ in SRM system only provided in item data. Any break up details/additional data, if firm wants to   submit, the same may be uploaded in “my note”.

  - Technical Bids of the bidders will be opened first on the specified date and time. For only bidders who have fulfilled pre-qualification criteria. will be opened.  Commercial Bids of the technically accepted bidders only will be opened subsequently on completion of the technical evaluation.

  - Before submitting the quote, the bidder may visit the work place / site to know the scope of work. Prior appointment may please be obtained from the office of the AGM – Civil Maintenance dept., Contact No. 0821-2400211/2400375

  - The offers should be only on SRM platform. (Quotations sent by Fax / Email / Quotations on letter heads will not be entertained)

- This Letter + Tender document + Corrigendum if any, will be part of the contract.

- Please note that your bid should be submitted in our SRM e-Procurement system only. You should be having a valid Class-III Digital Signature Certificate with encription  & decryption  issued by authorized Certifying Authority to submit your bid in our SRM e-Procurement system. For any technical issues / assistance in submitting the tender in SRM platform, the firm may contact SRM Team with the following details:

SRM Team (Mr. Krishnamohan, AGM;  & Smt. Anitha, AGM)
CIO Office, BEML Soudha, BEML Limited
23/1, 4th Main, S.R.Nagar,
Bengaluru – 560027.

Phone no:-080-22963269, 22963141

E-Mail ID : admin.srm@beml.co.in

- REFUND OF EMDs

| 01 | If the bidder is disqualified at Prequalification stage | EMD amount received will be returned back immediately to the bidder by the purchase department, if bidder has not qualified as per pre-qualification criteria |
| --- | --- | --- |
| 02 | If the bidder is disqualified at Technical Evaluation stage | EMD amount will be returned back to the bidder within 14 days from the date of technical evaluation. |
| 03 | If the bidder is not qualified at Commercial evaluation | EMD amount will be refunded to unsuccessful bidder, within 14 days from the date of awarding of contract. |

Note: EMDs of will be returned without any interest.

- The tenderer shall fill in all the required particulars in the blank space provided for the purpose in the tender document and shall also affix seal and sign on each and every page of tender document before uploading the tender on the BEML SRM System, as a token of acceptance of the tender terms & conditions. No corrections/ revisions will be entertained after closing date and time of tender.

- In case any Person/ Persons, Company, Firm, Associations having any litigations, arbitration cases between themselves and BEML Ltd, pending before the Court / Arbitrator in connection with any contract / tender issued by BEML Ltd, shall declare the same with brief details duly authenticated in the Tenderers letter head and upload. Firms/contractors who are presently put on hold, suspended, de-listed, banned or blacklisted by BEML will not be eligible to participate.

Commercial Bids will be opened for the bidders who have qualified in the Technical Bid

L1 will be arrived on the total value of the items.

Thanking you,

Yours faithfully,

For BEML LIMITED

SD/-

Dy. General Manager (Materials)

Ph: +91 0821 2400225/503 email: ymn@beml.co.in

Tender No:	6300038084

TENDER NOTICE.

Tenders for the following work are invited by the Dy . Gen. Manager (Materials), BEML, Mysore complex, Belavadi post, Mysore – 570 018 in  TWO BID SYSTEM from eligible reputed firms/contractors of  appropriate class, registered with CPWD / MES / P&T / State PWD / Public Sector Undertakings / Railways etc.,

TENDER NOTICE for PRE- QUALIFICATION CRITERIA:

| Description of Contract: - Maintenance contract for maintenance of Effluent Treatment plants at Equipment Division, Engine division & Township, BEML Limited, Mysore, for Two years period (2022-24) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PERIOD OF CONTRACT:- Two Years |  |  |  |  |  |  |  |
| Sl no | Description |  | Requirement |  |  | Remarks |  |
|  |  |  | Detail |  |  |  |  |
| 1 | EMD Amount Rs. 1,66,000.00 (Rupees One lakhs sixty six thousand Only) |  |  |  |  |  |  |
| 2 | EMD | Bidder should make payment online before Closing date of the bid thro’ NEFT/RTGS/DD/ Banker’s Cheque as per SRM Portal in favor of M/s BEML Limited, Mysore Complex along with tender towards Earnest Money Deposit. In case firms claiming Exemption for EMD amount under MSME category (only Micro & Small Enterprises are eligible for exemption), a copy of NSIC Certificate /MSME certificate should be submitted along with Technical Bid details. |  |  |  | For online payment (Wire Transfer), Please make use of the following bank Details ACCOUNT NAME : BEML LIMITED ACCOUNT NO : 10562407488 ISFC CODE : SBIN0003130 BANK NAME : STATE BANK OF INDIA, MYSORE, MAIN BRANCH SWIFT CODE : SBININBBM08 Firm shall send EMD remittance details or copy of MSME certificate as applicable to email @ : ymn@beml.co.in before the tender closing date and time of the tender |  |
| 3 | Pre-bid meeting |  |  |  | 07.11.2022 at 11.00 am |  |  |
| 4 | Failure to submit the above (OR) NSIC/MSME Certificate will result in rejection of BID and no Correspondence will be entertained. |  |  |  |  |  |  |
| 5 | Last date & time for submission of Bids in BEML SRM e-Procurement system |  |  |  |  |  | AS per SRM |
| 6 | Date & time of opening of Technical Bid through e-mode |  |  |  |  |  | As per SRM |
| 7 | Date & time of opening of Commercial Bid through e-mode |  |  |  |  | Only Technically qualified bids will be opened. |  |
| 8 | Mode of Tender Document |  |  | Through e-mode, Bids are to be submitted in TWO BID systems in BEML SRM e-procurement system only. |  |  |  |

Note: - Manual and FAX/E mail Quotations will be summarily rejected.

For eligibility criteria and details, please visit website www.bemlindia.com or contact office address, Deputy General Manager (Materials) or AGM (Civil Maintenance), BEML Ltd., Belavadi Post, Mysore – 570 018.

For BEML LIMITED

Sd/-

Deputy General Manager

BEML LIMITED

##### (A Govt. of India undertaking)

Belavadi post, Mysore complex, Mysore – 570018

### Telephone:  0821 – 2400211 		            	             Fax: 0821-2402434

BID NO. 6300038084		                                  	 DATE: 03.11.2022

Dear Sir(s).

Sub: Maintenance contract for maintenance of Effluent Treatment plants at Equipment Division, Engine division & Township, BEML Limited, Mysore, for Two years period (2022-24)

01. Beml limited invites quotations through e-mode, for the subject work in TWO BID system. One set of tender documents in respect of the above subject work is attached herewith.  Please note that tenders to be submitted through e Mode before Closing date. (As per SRM)

The period of contract for the subject work is TWO YEARS.  For details please refer (a) Instruction for Bid submission (b) Tender covering letter.

02.  This being an item rate contract the rates quoted shall remain firm and errors, if any, in the extension/total shall be subject to correction.  The quantities shown against each item are only approximate and hence any reduction/increase thereof during the currency of the contract shall not vitiate the contract.

03.  You are requested attach Account Payee Demand Draft, Banker’s Cheque   from any of the Scheduled Commercial Banks authorized by RBI excluding Regional Rural Banks or payment online before closing date of the bid by NEFT/ RTGS for Rs. 1,66,000.00/- in favour of M/s. BEML Limited, Mysore Complex along with tender towards Earnest Money Deposit.  For online payment (Wire Transfer), Please make use of the following bank Details.

In case the EMD amount exceeds PEMD amount the difference has to be paid as specified above.

ACCOUNT NAME : BEML LIMITED

ACCOUNT NO       : 10562407488

ISFC CODE             : SBIN0003130

BANK NAME         : STATE BANK OF INDIA, MYSORE, MAIN BRANCH

SWIFT CODE         : SBININBB170

NOTE: The agency / Contractors exempted from EMD amount shall attach Exemption Certificate from the Competent Authority.

04.  Successful tenderer is required to employ supervisor to supervise the work and should present when the work is going on/under progress.

05. Please note that Contractor should have their own ESI/PF code nos.  The successful tenderer should submit their ESI/PF Code Nos.  The tenderer who doesn’t have their own ESI/PF code will be summarily rejected.

06. Successful tenderer is required to submit periodical returns to our HRD department ensuring PF & ESI coverage for their labourers and Employer’s Liability Insurance Policy to be made.

07.  Tenderers shall attach along with their tender (through e mode) a certified true copy of Power of Attorney in favour of signatory of the tender documents.

08.  Tenderers shall ensure that their tender is submitted (through e mode) well in advance.

09.  Tenderers are also requested to attach (through e mode) their returns submitted to Income tax for the last three years, if this has not already been submitted, at least 15 days before opening of tender.

10. This letter shall form part of the contract and shall be returned duly signed and attached (through e mode) along with the tender documents.

11.  The tenders should conform to our specification and conditions in every detail and any tenders not conforming to our specifications and conditions are liable to be summarily rejected.

12.  Quotations other than those called for in the enclosed tender forms are liable for rejection.

13. Successful tenderer is required to execute contract agreement on appropriate stamp paper incorporating standard conditions.

14. The accepting officer reserve the right to place order as a whole or part of any item only as deemed fit.

15. In case, the contractor/firm after quoting, withdraw from the tender or refuse/delay in commencing the work or stop the work abruptly, their EMD/PEMD/ SD, as the case may be, will be forfeited.

16. In addition to the existing, required certificates as mentioned above, the CONTRACTOR SHOULD HAVE REGISTERED UNDER GST RULES ALSO.

17. Tenderers shall inspect the work spot/site and obtain all information required and satisfy themselves before submission of tender.  Ignorance of the site condition shall not be entertained by BEML at later date. The details have to be obtained if required from the   AGM. Civil Maintenance & Landscaping, BEML Ltd., Mysore before quoting of the tenders.

18. The Successful tenderer shall take an Insurance policy to cover the risk for the period of contract (Employer’s Liability Insurance Policy).

Special Note :

- All taxes and duties such as Income Tax, payable from time to time shall be borne by the contractor and shall be recovered from the contractor’s bills  and the price quoted shall be firm and inclusive of all such duties and taxes throughout currency of the contract/work order.  No amount shall be reimbursed on account of taxes or whatsoever may be.

- The Quote shall be exclusive of GST applicable.

This forms the part of the tender document.

Thanking you,

Yours faithfully,

for BEML, LIMITED.,

SD/-

DY. GENERAL MANAGER (MATERIALS)

SIGNATUREOF CONTRACTOR(S)

WITH SEAL

BEML LIMITED

# MYSORE - 570018

Phone: 0821-2402422

(Regd.Office No. 23/1, 4th Main, SR Nagar, Bangalore – 560 027)

Sub: Maintenance contract for maintenance of Effluent Treatment plants at Equipment Division, Engine division & Township, BEML Limited, Mysore, for Two years period (2022-24)

DETAILS OF TECHNICAL & COMMERCIAL BID

- Technical bid   should consist of following:

  - Experience certificates, financial turnover, registration no. of PF, ESI, & GST as detailed in the requirements of Technical bid. If the works are carried out in the private firms, TDS certificates issued by them are also to be attached through e mode.

Note: The details are to be furnished (through e mode) in the format enclosed in Annexure. - I and also upload relevant documents along with Technical bid.

  - Please note that contractor should have their own ESI/PF code nos. The successful tenderer should submit their ESI/PF Code Nos.  The tenderer who doesn’t have their own ESI/PF code nos. will be summarily rejected.

c) You are requested attach Account Payee Demand Draft, Banker’s Cheque   from any of the Scheduled Commercial Banks authorized by RBI excluding Regional Rural Banks or payment online before closing date of the bid by NEFT/ RTGS for Rs.1,66,000.00 /-in favour of M/s. BEML Limited, Mysore Complex along with tender towards Earnest Money Deposit.  For online payment (Wire Transfer), Please make use of the following bank Details.

In case the EMD amount exceeds PEMD amount the difference has to be paid as specified above.

ACCOUNT NAME : BEML LIMITED

ACCOUNT NO       : 10562407488

ISFC CODE             : SBIN0003130

BANK NAME         : STATE BANK OF INDIA, MYSORE, MAIN BRANCH

SWIFT CODE         : SBININBB170

Note: The agency / Contractors exempted EMD amount shall attach

Exemption Certificate from the Competent Authority.

d)  NIT acceptance certificate (format enclosed at Annexure II) should be

Duly signed by the contractor & uploaded along with the Technical bid

e) Undertaking regarding Non Ban / Blacklist / Debar (format enclosed at Annexure III) should be duly signed by the contractor & uploaded along with the Technical bid

- Commercial bid should consist of:

Only the Schedule ‘A’- bill of quantity duly filled with rates/amount & firm’s seal and signature in all pages.

Note:  The rebate if any, should be submitted through e mode only

3.   The contractors or their representatives may visit our divisions at Mysore

Complex, Mysore between 8.00 AM to 2.00 Pm on working days for

Acquainting themselves with the site conditions, requirements & scope of

Work before submission of the Offer.

##### BEML LIMTIED, MYSORE

Sub: Maintenance contract for maintenance of Effluent treatment plants in Equipment Division, Engine division & in township, BEML Limited, Mysore, for Two years period (2022-24)

ELIGIBILITY CRETERIA FOR  TECHNICAL B I D

In the Technical Bid, the firm have to furnish/upload the following details / documents with regard to their experience etc  :

CREDENTIALS  i.e. , EXPERIENCE / FINANCIAL STATUS ETC.

Intending Tenderer who meets the following eligibility criteria may quote for the tender.

1)  Financial Position:  Average annual financial turn over during the last 3 years ending 31.03.2022 should be at least Rs.18.98 Lakhs. The annual turnover certificate duly certified by Chartered Accountant (CA) in this regard to be submitted.

2) Experience : Contractor(s) should have experience of having successfully completed the operation & maintenance of Effluent treatment plants up to 200 KLD capacity as described below during last 7 years ending 30th June 2022 in any one of the following: (Copy of the satisfactory performance certificate to be uploaded).

- Three completed works each costing not less than Rs. 25.30 Lakhs  ( Or )

ii)   Two completed works each costing not less than Rs 31.63 Lakhs   ( Or)

iii)  One completed work costing not less than Rs. 50.60 Lakhs

3) All necessary statutory requirement viz., ESI registration no., PF registration No., GST registration No, and undertaking to submit required labour license before commencement of work against Form-III from BEML.

4) Details of EMD.

5) Note : The agency / Contractors exempted from EMD amount shall attach Exemption Certificate from the Competent Authority.

6) NIT acceptance certificate (format enclosed at Annexure II) should be duly signed by the contractor & uploaded along with the Technical bid

7) An undertaking has to be submitted by the bidders stating that they have Not banned / blacklisted /debarred from Trade by any Central / State Government department / Autonomous Institutions or PSU’s in India (format enclosed at Annexure III) should be duly signed by the contractor & uploaded along with the Technical bid

All the above information shall also be furnished in Annexure-I along with relevant documents.

The commercial bids of the contractors who have submitted the satisfactory documentary evidence for the above requirements will be opened.  The commercial bids of other contractors i.e. Who does not qualify in the Technical requirements will not be opened.  The L1 position will be arrived based on the total value of the work.

Intending tenders should submit their Technical & commercial bid through e mode and send EMD for specified amount (Refundable) through post in the form of DD / Banker’s Cheque drawn in favour of BEML Limited, payable at Mysore, so as to reach BEML, Mysore before tender closing date and time.

This forms the part of tender documents.

Dy. Gen. Manager			                                      Signature of Contractor(s)

(Materials)						                           With Seal

Annexure – I

| Sl. No. | Description (Requirements of Technical bid) |  |
| --- | --- | --- |
| 1 | Details of EMD of Rs. |  |
| 2 | Financial turnover |  |
|  | 2019-20 |  |
|  | 2020-21 |  |
|  | 2021-22 |  |
|  | Average annual Financial Turnover during latest Three years (i.e 2019-20, 2020-21 & 2021-22) need to be uploaded. If latest year turnover (2021-22) is not available then firm can submit turnover for the year 2018-19 along with other year turnover duly certified by Chartered Accountant (CA). (Minimum required Rs 18.98 Lakhs). Note: Copy of annual turnover certificate duly certified by Chartered Accountant (CA) to be uploaded. |  |
| 3 | Work experience. Contractor(s) should have experience of having successfully completed the operational & maintenance of Effluent Treatment plants up to 200 KLD capacity as described below during last 7 years ending 30th June 2022 in any one of the following i) Three completed works each costing not less than Rs.25.30 Lakhs ( Or ) ii) Two completed works each costing not less than Rs 31.63 Lakhs ( Or) iii) One completed work costing not less than Rs.50.60 Lakhs Note: Note: The relevant PO / Work order copies with completion certificates are to be furnished. |  |
| 4 | PF Registration No.: |  |
| 5 | ESI Registration No.: |  |
| 6 | GST No.: |  |
| 7 | MSME Certificate:(if applicable) |  |
| 8 | Labour License No. | Under taking letter to be uploaded to obtain labour licence in case of award of work against Form-III from BEML. |
| 9 | NIT compliance letter (Annexure II) |  |
| 10 | Undertaking regarding Non-Ban / Blacklist / Debar (Annexure III) |  |

SIGNATURE OF CONTRACTOR(S) WITH SEAL

Annexure – II

NIT Acceptance letter

To:

Dy. General Manager- Materials

BEML Limited,

Mysore complex,

Mysore: 570 018

Sub: Acceptance of all NIT conditions.

Ref: Bid No: 6300038084

Sub : Maintenance contract for maintenance of Effluent Treatment plants at Equipment Division, Engine division & Township, BEML Limited, Mysore, for Two years period (2022-24)

We hereby declare that we have gone through the complete Tender documents and Corrigendum (if any uploaded) published in BEML website / SRM PLATFORM WITH “Bid No...

We agree to abide by all Terms and conditions indicated in the Tender documents and Corrigendum (if any uploaded).

Contractors

Signature

Name

Seal

Note:

##### The above letter along with technical Bid and corresponding supporting documents required as per mandatory qualification criteria   to be scanned and uploaded in the technical bid section on SRM platform.

Annexure – III

TENDER No:  6300038084						     Date:

UNDERTAKING

This is to certify that ________________________ (Name of the Firm) has not been banned / black listed / debarred from Trade by any Central /State Govt. Dept. / Autonomous Institution  /  PSUs in India.

I / we hereby certify that all the information given above is factual.

Signature with date of Authorized signatory

Name: ________________________

Designation: ___________________

Firm’s Seal:_____________________

##### BEML LIMITED, MYSORE

Sub: Maintenance contract for maintenance of Effluent Treatment plants at Equipment Division, Engine division & Township, BEML Limited, Mysore, for Two years period (2022-24)

GENERAL CONDITIONS OF CONTRACT

1. Adequate Labours who are medically fit with  the age group  between 18 to 60 years  and having covered  under social security measures viz, PF and ESI to be deployed.

2. The work should be carried out with high degree of efficiency and cleanliness without damaging the company properties.

3. The contractor or his authorized representative should be present in the work spot during working hour to receive instructions from the Engineer-in- charge to carry out the work every day effectively and satisfactorily

4. The Rate (i.e. rate per job) is inclusive of Minimum wages (including DA hike, service weightage allowance an annual increment ) as per the Minimum wages of Central sphere notified by the Govt of India, from time to time, ESI, EPF, Bonus, Leave with wages (As per Factories Act 1948), National & Holidays (3 Days paid holiday and 09 days festival holidays per year ) professional tax, ID Cards, and other applicable statutory remittance  etc.,

5. Canvassing by tenderers in any form, including unsolicited letters on tenders submitted or post tender corrections shall render their tenders liable for summary rejection.

6. a. EMPLOYEESTATE INSURANCE:

ESI at the rate of  4.00% on minimum wages should be paid to the authorities by the Contractor on or before 15th  of  every month  and ESI  challan should be produced with the bill (3.25% towards Employer’s and 0.75% towards Employee Contribution as per ESI Act).

6. b.  PROVIDENT FUND/FAMILY PENSION:

The contractor shall recover 12% from labourer wages towards Employee’s share of contribution and submit the same along with the employers’ contribution at 13.01% thus making a total of 25.01% towards PF/EPF as per Provident Fund Act.  The Employer’s contribution at 13.01% shall be borne by the Contractor which includes Admin. and PF  charges at 1.36% of labour wages.  Contractor should have his own code number.  If he does not have, he should apply and get the same. The Contractor should remit PF contributions to the authorities on or before 15th of every month.

7. The Contractor shall obtain requisite license under the Contract Labour (Regulation and Abolition) Act, 1970and duly observe the provision of the said Act, the Rules and Regulations framed there under as also the provisions of all the other laws including Industrial Dispute Act and Factories Act, as may be applicable to him and his Employee  and keep the Company fully indemnified at all times in respect of breaches, if any, of the said laws and against the claim of the employees on any account against the company.

8. The intending tenderers should quote their organization registration code numbers for the registration with ESI/PF Authorities.

09. Contractor should employ only ESI registered workmen on any item of work inside the factory.  If Contractors have workmen who are not yet been registered under ESI, they should ensure that the workers are duly registered before employing them for the work.

10.All claims arising by or at the instance or on account of the persons employed by the Contractor or on account of wages, allowances, PF, ESI, , or otherwise, shall  be met by the Contractor on his own account and the company shall be kept fully indemnified.  The company shall have no liability in that behalf.

11.  If there is any default on the part of the Contractor, an estimated amount towards ESI /PF liability, including the penalty/damage, will be recovered by the company from the bills of the contractors or any other source irrespective of whether it is specifically charged or not.

12. Contractor will settle the claims of the employee whenever such claims arise, either due to termination, discontinuance or death and keep the company indemnified.

13. The extension of ESI & PF benefits to the Employees of the Contractor will be available only during the Contract period.  After the contract is completed Contractors employee may in accordance with RPFC, withdraw PF amount or get the amount transferred to their PF accounts with the new employer.

14. Contractor should maintain all registers and records required for ESI/PF payment of wages, etc. under the statutes and produce them for verification as and when called for by Company/Inspecting authority.

15.  OTHER CONDITIONS:

a. The labourers shall be dutiful and obedient and execute the works assigned to them continuously and efficiently.

b. The Contractor shall pay to the labourers the wages agreed to by him, however not below the Minimum Wage as prescribed under the Minimum Wages Act. The Contractor is also liable to disburse the wages as per the provisions of payment of wages act. Further, the wages shall be distributed in accordance with the applicable statutes prevailing.

c. The Contractor is responsible for the regular attendance and proper conduct and behavior of the labourers supplied by him.

d. In the event of contractor failing of neglecting to carry out the work, the Company shall be entitled to recover damages from the Contractor   such damages being equivalent to the extra amount which the company is obliged to pay for getting the work done by other agency and in addition the company shall be entitled to forfeit to itself the security deposits or any part thereof remaining to the credit of the contractor or at its option also be entitled to terminate this contract.

e) As per the Karnataka Govt. notification issued from time to time the requisite amount towards Labour welfare Fund has to be borne by the contractor yearly once ie., in the month of January.

16. PAYMENT:

Contractor has to make payment to labours on or before 7th of every month and submit the monthly bills along with  wages paid statement, Bank statement , ESI/PF remittance challans and work certification from the in charge of user department, for processing of the monthly bills.  Payment will be made subject to  submission of the requisite documents .

17.  ACCIDENT/INJURY:

In the event of any accident/injury, disablement, the Contractor shall arrange to pay the requisite compensation legally payable to the concerned   employee/dependents and also indemnify BEML in case of any claims arising there of later.  Required safety aids and equipments are to be provided to the workers while at work.

For this purpose the contractor shall take an Insurance policy to cover the risk for the period of contract - Employer’s Liability Insurance Policy

18.The transportation and canteen facilities will be extended to the contract labours subsidized cost as per the policy in vogue and payment will be recovered from the contractor monthly bill. However necessary provision for lunch to your labours working at Township  plant to be organized from your end and the quoted rate shall deem to include the same.

19. CONTRACT AGREEMENT:

The Contractor shall within 7 days of the acceptance of his tender,  enter into and execute a formal agreement of contract to be prepared by the authorities designated by BEML on a stamp paper of worth Rs. 200/ (Rupees two hundred only) as per the format given by M/s. BEML Limited to carry out the work coming under the scope of work and as per terms and conditions. In case of failure to execute the agreement, the Office-in-Charge in the department will have the right to withhold payment of the Contractors outstanding running/final bill.  The expenses of commuting and stamping of the agreement shall be paid by the Contractor.

20.Verification of Contract Labourers antecedents:

The Contractors will have to get the necessary police verification done for the labourers employed by him prior to engage them in the Company and the relevant details in this connection will be submitted to Personnel Department for their records.

21. Management reserves the right to ask the contractor to dispense with the services of any labourers who is reported to be of doubtful integrity.

22. The Earnest Money Deposit by crossed Demand Draft in favour of BEML, Mysore complex, Mysore, on any Schedule Bank located at Mysore, must accompany the Tender.  Cheques will not be accepted.  In case of successful tender,the EMD will be retained  and adjusted towards  Security Deposit.  The company shall be entitled to forfeit to itself the whole or any part of the SD for any breach of Contract by the contractor. The company shall also be entitled to recover any sum due from the contractor to the company under the terms of the contract or on any other account from the SD and refund the balance, if any, on successful completion of the work, to the Contractor.

23.  Safety Appliances:

It is the responsibility of the contractor to provide safety appliances like hand gloves, shoes, gum boots, etc. wherever required to the Labourers who are engaged for the job.  The Contractor should ensure that the Labourers wear them daily while on duty.

24.  In respect of disputes under the Contract or concerned there with the Courts situated at Mysore shall alone have exclusive jurisdiction to entertain and adjudicate thereon.

#### 25. Dispute Resolution and jurisdiction:

All disputes or differences whatsoever arising between the parties out of or relating to the construction, meaning and operation or effect of the contractor the breach there of arising during the progress of work or after completion or abandonment there of shall be mutually discussed and settled amicably by conciliation Committees/Councils comprising of independent subject experts constituted by BEML, failing which, the dispute shall be settled by arbitration consisting of sole arbitrate or appointed by the Company in accordance with the provisions of Arbitration and Conciliation Act1996 and the arbitration proceedings shall be conducted at the place of awarding of original contract. The court at the place of awarding of contract only shall have jurisdiction to entertain any dispute/matter relating to the contract.

26. The Contract is for a period of two years from the date of acceptance letter is issued with an option to the Company  (BEML)  to extend if further periods  on the terms and conditions with the mutual consent of the Contractor.  Notwithstanding anything contained therein the contract may be terminated by the company at any time for breach of contract on the part of Contractor.  It is being not obligatory on the part of the Company (BEML) to assign any causes or reason for such termination.  The Contractor shall not be entitled to claim any compensation or damage for such termination.

27.  Security deposit:

a) The contractor should furnish Security deposit for the fulfillment of the contract within 30 days of release of purchase order and security amount shall be to a value of 3% of Contract Sum value (Excluding GST). Such Security deposit shall not entail any interest payment on refund.

b) The contractor shall choose any one of the following three options for payment of security deposit in writing as under:

(i) The contractor shall deposit full Security Deposit by Demand Draft / Banker’s cheque drawn on any of the commercial bank made in favour of BEML Limited, Payable at Mysore. (OR)

(ii) Bank Guarantee should be equivalent to the amount of Security Deposit valid up to 3 months after expiry of the contract covering the claim period. (i.e. Contract period - 2 years + Claim period-3 Months) Bank Guarantee should be from any of the scheduled Commercial Banks authorized by RBI. (Excluding Regional Rural Banks/ Cooperative Banks)  (OR)

(iii) Security Deposit amount will be deducted from the initial bills itself. (Payments will be made only after recovering the required security deposit)

c) In case of extension of the Contract, the validity of Bank guarantee should be extended suitably failing which same will be realized by the BEML.

d) The above deposit will be held by the Company as Security for the satisfactory performance of the contract. All compensation or other sums or money payable by the contractor to the company under the terms and conditions of this contract may be deducted from his security deposit or from any sums that may be due or may become due, to the contractor by the Company on any account what-so-ever, and in the event of the security Deposit being reduced by reasons of any such deductions the contractor shall within 10 (TEN) days thereafter make good these deductions.

e) No claim shall lie against BEML Ltd., in respect of interest on cash deposits or Govt. Securities depreciation thereof.

f) BEML Ltd. shall be entitled and it shall be lawful on its part to forfeit the said security deposit in whole or in part in the event of any default, failure or neglect on the part of the supplier in the fulfillment or performance in all respect of the Purchase Order.

28.   Refund of security deposit;

On completion of the contract based on the recommendations of the Engineer-in-charge, the Security deposit will be released to the Contractor, three months (03) after expiring of contract period subject to fulfillment of contractual obligations by the contractor.

29. PRECAUTIONS AGAINST INJURY TO PROPERTY ADJACENT TO THE WORK IN PROGRESS

From commencement to completion of the work the contractor shall take full responsibility, taking precautions to prevent loss or damage.  Contractor shall be liable for any damage or loss that may occur during the progress of work.  In addition, the contractor shall also be responsible against any loss and   damages to the labourers engaged. In the event of accident, the claim of the   third party should also be taken care either by covering through insurance or by the contractor’s risk. For this purpose the contractor shall take an Insurance policy to cover the risk for the period of contract (Employer’s Liability Insurance Policy).

In the event of any accident / injury / disablement to the labour / supervisor/third party, the contractor shall arrange to pay the required compensation legally payable to the concerned workman / dependent, in addition to the medical treatment / assistance.

Contractor shall supply all safety appliances like boots, hand gloves, gum  boots,  goggles, two pairs of  socks etc., as detailed in tender doc.,

30.  The contractor shall be deemed to have studied the scope of works thoroughly before offering his unit rates to ensure that the complete work is carried out as per specifications in accordance with the Indian standards. The Contractor can visit the site before offering his unit rates if necessary

31.	The company is not liable for any loss or damage of tools and materials brought by the contractor.

32	All the materials used for the works shall comply with Indian standard specifications as published up to date wherever applicable.

33	The tenderer shall be deemed to have studied the scope of work and extent of each item of work thoroughly before offering unit rate which shall be deemed to include for all works necessary to ensure that the complete work is in good condition.

34	Accident Damages : The contractor is solely responsible for making good the damages occurring on account of any accidents to his labour due to his failure to take safety measure of whatsoever may be the reason.

35.	Work has to be carried out without disturbing the working atmosphere. No inconvenience should be caused to the officers/employees movements.

36	All statutory recoveries such as ESI, PF, GST has to be remitted by the contractor to the respective authorities and duly paid vouchers to be submitted along with bills. Taxes etc., will be recovered from the bills as per norms.

37	 The contractor shall produce sample of materials and shall obtain the approval of the Engineer in charge before he places the bulk order for the materials for incorporation in the works.

38.	The offer shall remain valid for acceptance for a period of 60 Days from the last date for submitting the bids.

GENERAL TERMS & CONDITIONS (B) :

Purchaser/Company refers to “BEML” and Contractor/Supplier refers to “Successful Bidder” in this tender.

- FORCE MAJEURE CLAUSE:

Notwithstanding anything contained in the Contract, neither the Supplier nor the Purchaser shall be held responsible for total or partial non-execution of any of the contractual obligations, should the obligation become unreasonably onerous or impossible due to occurrence of a ‘Force Majeure’ conditions which directly affect the obligations to be performed by the Purchaser or the Supplier. Such events include war, military operations of any nature, blockages, revolutions, insurrections, riots, civil commotions, insurgency, sabotage, acts of public enemy, fires, explosion, epidemics, quarantine restrictions, floods, earthquake, or acts of God, restrictions by Govt. authorities over which the Supplier or the acts on which the Purchaser has no control.

The party claiming to be affected by Force Majeure shall notify the other party in writing without delay, within two weeks on the intervention and on the cessation of such circumstance. Extension of time sought by the Supplier along with supporting evidence and so granted by the Purchaser for the supply/ work affected, if any, shall not be construed as waiver in respect of remaining deliveries.

Notwithstanding above provisions, Purchaser shall reserve the right to cancel the order/ Contract, wholly or partly, in order to meet the overall delivery schedule and make alternative arrangements including arrangements with third party for completion of deliveries and other schedules. Purchaser may takeover partly processed material at a mutually agreed price.

- INTELLECTUAL PROPERTY RIGHTS; LICENSES :

If any Patent design, trademark or any other intellectual property rights apply to the delivery or accompanying documentation, Purchaser shall be entitled to the legal use thereof free of charge by means of a non-exclusive, worldwide, perpetual license. All intellectual property rights that arise due to the execution of the delivery by the Supplier and by its employees or third parties involved by the Supplier for performance of the agreement belong to Purchaser.

The Supplier shall be obligated to do everything necessary to obtain or establish the above mentioned rights. The Supplier guarantees that the delivery does not infringe on any of the intellectual property rights of third parties. The Supplier shall also be obligated to do everything necessary to obtain or establish the alternate acceptable arrangement pending resolution of any (alleged) claims by third parties. The Supplier shall indemnify the Purchaser against any (alleged) claims by third parties in this regard and shall reimburse Purchaser for any damages suffered as a result thereof. “The Supplier shall comply with all applicable Labor Laws, particularly Contract Labor (Regulation & Abolition) Act, 1970, ESI Act, Gratuity Act, Payment of Bonus Act, Payment of Minimum Wages Act, Provident Fund Act etc., and Rules framed therein from time –to- time and the Supplier shall indemnify the Company for any loss caused to it by reason of inaction, non-compliance etc., of the provisions of any Law by the Supplier”.

- BRIBES AND GIFTS:

Any bribe, commissions, gift or advantage given, promised or offered by or on behalf of the supplier or his partner, agent or servant or anyone on his or on their behalf to any officer, servant, representative or agent of BEML or any person on his or their behalf in relation to the obtaining or to the execution of or any other contract with BEML Ltd., shall in addition to any criminal liability which the supplier , may incur, subject the supplier to the cancellation of this and all other contracts with BEML and also for payment of any loss or damage resulting from any such cancellation to like extent, as is provided in case of cancellation under Clause -12 hereof. Any question or dispute as to the commissions of any offence under the present clause shall be settled by BEML in such manner and on such evidence of information as they may think fit and sufficient and their decision shall be final and conclusive.

- DRAWINGS AND DOCUMENTS:

Drawings, technical documents or other technical information received by one party shall not, without the consent of the other party, be used for any other purpose than that for which they were provided. They may not, without the consent of the submitting party, otherwise be used or copied, reproduced, transmitted or communicated to third parties.

The Supplier shall, as per agreed date/s but not later than the date of delivery, provide free of charge information and drawings which are necessary to permit the Purchaser to erect, commission, operate and maintain the product. All intellectual properties, including designs, drawings and product information etc. exchanged during the formation and execution of the Contract shall continue to be the property of the submitting party.

- NON-DISCLOSURE AND INFORMATION OBLIGATIONS:

The Supplier shall provide Purchaser with all information pertaining to the delivery in so far as it could be of importance to Purchaser. The Supplier shall not reveal confidential information to its own employees not involved with the tender / Contact & its execution and delivery or to third parties. The Supplier shall not be entitled to use the Purchaser’s name in advertisements and other commercial publications without prior written permission from Purchaser.

- DURING ARBITRATION

“Supplies under this Purchase Order, if reasonably possible, may continue by mutual agreement during the dispute / Arbitration proceedings”.

- CONTRACT VARIATIONS: INCREASE OR DECREASE IN THE SCOPE OF SUPPLY:

Purchaser may vary the contracted scope. If the supplier is of the opinion that the variation in scope has an effect on the agreed price or delivery period, purchaser shall be informed of this immediately in writing along with technical details, and in the event of additional work, submit a quotation with regards to the price and delivery period and the effect this scope will have on the other contracts under execution by the supplier. The supplier shall not perform additional work/ altered scope of work without the written instructions/amendment to the Purchase Order to that effect. The Purchaser also reserves its rights to decrease the scope of supply placed against Purchase Orders under due intimation to the supplier. Such decrease may be warranted due to defective goods or Policy Decisions of the Management of the Purchaser. And in such an event, the Supplier shall not have any claims or right against the Purchaser.

- NON-WAIVER OF DEFAULTS

If any individual provision of the Contract is invalid the other provisions shall not be affected. The failure of BEML to insist upon performance of the Contract, to enforce any of the terms and conditions of this Contract or to exercise any right or privilege granted to BEML under this Contract or under law, shall not be construed as a waiver and the same shall continue in full force and effect.

- ASSIGNMENT OF RIGHTS AND OBLIGATIONS; SUBCONTRACTING:

The supplier is not permitted to subcontract the delivery or any part thereof to third parties or to assign the rights and obligations resulting from this agreement in whole or in part to third parties without prior written permission from Purchaser. Any permission or approval given by the Purchaser shall, however, not absolve the supplier of the responsibility of his obligations under the contract.

SEXUAL HARASSMENT:

The Agency shall be solely responsible for full compliance with the provisions of “the Sexual Harassment of women at work place (Prevention, Prohibition and Redressal Act, 2013). In case of any complaint of sexual harassment against its employee within the premises of the Company, the complaint will be filed before the Internal Complaints Committee constituted by the Agency and the Agency shall ensure appropriate action under the said Act in respect to the complaint.

- INTEGRITY COMMITMENT IN THE EXECUTION OF CONTRACTS:

Commitment by Purchaser:

Purchaser commits to take all necessary steps to prevent corruption in connection with the execution of the Contract.

Commitment by the successful bidder:

The successful bidder (s) commit (s) to take all measures to prevent corruption and will not directly or indirectly try to influence any decision for the benefit for which he is not legally entitled. The successful bidder (s) will not commit any offence under the relevant Acts. The successful bidder (s) will not use improperly, for purpose of competition or personal gain or pass on to others, any information or documents provided by Purchaser as part of business relationship.

The bidder (s) will not enter with other Firm (s) / bidder (s) into any undisclosed agreement or understanding or any actions to restrict competition. If the bidder(s), before award or during execution of the Service Contract commit(s) a transgression of the above or in any other manner such as to put his reliability or credibility in question, Purchaser is entitled to disqualify the successful bidder (s) from the consultancy process or terminate the contract and / or take suitable actions as deemed fit.

(xi) PERIOD OF CONTRACT: The Contract is for a period of TWO YEARS with an option to the Company (BEML) to extend if further periods on the terms and conditions with the mutual consent of the Contractor.

Notwithstanding anything contained therein the contract may be terminated by the company at any time for breach of contract on the part of Contractor. It is being not obligatory on the part of the Company (BEML) to assign any causes or reason for such termination. The Contractor shall not be entitled to claim any compensation or damage for such termination.

xii) BEML reserves the right to increase/decrease the order quantity/extend the contract at the same rates and terms and conditions during the pendency of the contract.

xiii) RISK PURCHASE CLAUSE: In case of non-performance in the PO, BEML will take procurement action at your risks and cost apart from levying liquidated damages as deemed fit. BEML shall be entitled to prevent a breach of the contract and claim damages in case of breach.

BEML LIMITED

# MYSORE - 570018

TERMS AND CONDITIONS OF CONTRACT

1) WORKS TO BE CARRIED ON WITH EXPEDITION FAILING WHICH THE COMPANY MAY EMPLOY OTHER CONTRACTORS WITHOUT VITIATING THE CONTRACT

The contractor shall commence to carry on the woks with due diligence and as much expedition as the Engineer may reasonably expect having regard to the specified time of the whole of the works as mentioned in the “Scope of the contract” of General Specifications. In case the contractors fail to do so or neglect to provide proper and sufficient materials, or to employ sufficient number of workmen to execute the work, then the company shall have full power without vitiating the contract to take the works wholly or in part of the hands of the contractor to engage or employ any other person or workmen and to procure all the requisite materials and implement for the due execution and completion of the said works and the costs and charges incurred by the company in doing so shall be ascertained by the competent authority and be paid for or allowed to the company by the contractor and it shall be competent for the company, to reduce the amount of such costs and charges along with overheads out of any sum or sums due to or to become due from the company to the contractor under this or any other contract.

2. TAXES & DUTIES APPLICABLE:

i)	TDS (Income Tax): The tenderer should quote their PAN number. Tax deducted at source (TDS) will be recovered on the contract amount @ applicable rates from time to time.

ii)	Other Duties : The price quoted by the tenderer should include all duties, octroi, royalties etc., if any payable by the contractor.

iii)	The rates quoted by the tenderer should include all duties, taxes, royalties etc., except GST prevailing payable by the contractor.  All deductions as per statutory requirements and as per Govt. rules & regulations shall be made from the bills payable.

3.   ELECTRICITY REQUIRED FOR WORKS

Electricity required for the work will be provided at a nearest available point by BEML on request based on availability at free of cost. Contractor to note this aspect while quoting the rates. However, contractor has to make his own arrangement to work during power failures/non-availability. Non-availability of power will not be a reason for delay in works.

4.   LABOUR ACTS

The contractor shall employ labour in sufficient number to achieve the required rate of progress and ensure best workmanship of the degree required under various specifications and to the satisfaction of Engineer-in-Charge. The contractor shall remain liable for the payment of all wages or other remuneration to his laborers or employees under the Payment of Wages Act – 1936,Minimum Wages Act 1948,  Employees Liability Act 1938, Workmen’s Compensation Act 1923, ESI Act 1948 or any other Acts or enactment relating there to and Rules framed there under from time to time. In the event the contractor fails or neglects to pay amount, liable to be paid by him under Workmen’s Compensation Act, ESI Act or other Labour laws, the company is entitled to withhold the payment due to him or any other amount entitled by him and remit the same to the authorities concerned such payment shall be binding on the contractor.

(a)    In the event of contract labour, the contractor is responsible for implementing the provision of the contract Labour act in total and also responsible for any repression arising there from non-compliance thereof.

(b)   The contractor should quote their organization / code number for the registration with ESI/PF authorities.

(c)  In the event of any accident / injury / disablement, contractor should arrange to pay the requisite compensation legally payable to the concerned labour/Dependents and also indemnify to BEML in case any claim arising there for later.

- Contractor should produce his muster rolls duly certified by the Officer in charge or his representative, once in a month say before 7th of each month to Engineer-in-charge,

(e)   Contractors should employ only ESI Registered workmen on any item of work. If contractor have workmen who have not been registered under ESI, they should ensure that workers have been duly registered under their own code before employing them in work,

f)	If there is any default on the part of the contractor an estimated amount towards ESI liability including the penalty damage, will be recovered by the company from the bills of the contractors.

g) Contractor should maintain all registers and records required for ESI, PF payment of wages etc., under the statute, and produce them for verification as and when called for by company inspecting authorities.

(h) Contract Labour (Regulation and abolition) Act,1970 under section-12 and rule 21 prescribes that every contractors who employ labour for executing contract works, should obtain license from labour authorities to carry  out any works, contract, so that the labourers employed by the contractor are not deprived of the facilities provided under the Act. Such license shall be produced to BEML authorities before commencement of work.

(j)  The contractor is required to submit the daily attendance of labours engaged duly certified by the Officer in Charge or his representative.

5.  ARBITRATION :

EXCEPT where otherwise provided for in the contract all questions and disputes relating to the meaning of the specifications, designs, drawings and instructions, herein before mentioned and as to the quality of workmanship or materials used on the work or as to any other question, claim, right, matter or thing whatsoever in any way arising out of or relating to the contract, designs, drawings, specifications, estimates, instructions, orders or these conditions or otherwise concerning the works or to the execution or failure to execute the same whether arising during the progress of the work or after the completion or abandonment thereof shall be referred to the sole arbitrator of the person appointed by BEML. There will be no objection to any such appointment of the arbitrator so appointed and that he has to deal with the matters to which the contract relates and that in the course of his duties as such he has expressed view on all or any of  the matters in dispute or  difference. The arbitration to whom the matter is originally referred being transferred or vacating his office or being unable to act for any reason, the company at the time of such transfer, vacation of office or inability to act, shall appoint another person to act as arbitrator in accordance with the terms of contract. Such person shall be entitled to proceed with the reference from the stage at which it was left by the predecessor. It is also a term of this contract that no person other than the person appointed by the BEML should act as arbitrator and if for any reason that is not possible, the matter is not to be referred to arbitration at all. In all cases where the amount the claim in dispute is Rs.50,000-00(Rupees fifty thousand) and above, the arbitrator shall give reasons for the award.

SUBJECT as aforesaid the provision of the Arbitration  & Conciliation Act 1996  or any statutory modification or reenactment thereof end and the rules made there under and for the time being in force shall apply to the arbitration proceeding under this clause.

IT IS a term of the contract that the party invoking arbitration shall specify the dispute or disputes to be referred to arbitration under this clause together with the amount or amounts claimed in respect of each such dispute.

It is also a term of the contract that if the Contractor(s) do/does not make any demand for arbitration in respect of any claim(s) in writing within 90 days of receiving the intimation from the company that the bill is ready for payment., the claim of the contractor(s) will be deemed to have been waived and absolutely barred and the company shall be discharged and released of all liabilities under the contract in respect of these claims.

The arbitrator(s) may from time to time with consent of the parties enlarge the time, for making and publishing the award.

THE decision of the company regarding the quantum of reduction as well as justification there of respect or rates for substandard work which may be decided to be accepted will be final and would not be open to arbitration.

BEML LIMITEDMYSORE – 570018

Sub: Sub: Maintenance contract for maintenance of Effluent Treatment plants at Equipment Division, Engine division & Township, BEML Limited, Mysore, for Two years period (2022-24)

SPECIAL TERMS AND CONDITIONS (A)

1)      works contract should be carried out with high degree of efficiency without damaging the company properties by engaging experienced labourers for which they will be compensated suitably based on the year of experience viz service weightage allowance and annual increment, over  and above minimum wages of the central sphere.

2)  The Rate (i.e rate per job) is inclusive of Minimum wages (including DA hike, service weightage allowance an annual increment ) as per the Minimum wages of Central sphere notified by the Govt of India, from time to time, ESI, EPF, Bonus, Leave with wages (As per Factories Act 1948), National & Holidays (3 Days paid holiday and 09 days festival holidays per year ) professional tax, ID Cards, workmen compensation policy for Non ESI Covered labours and others applicable statutory remittance and required materials etc.

Leave with wages – Annual leave payment should be borne by the contractor as per Factory Act 1948.

- The statutory payments such as ESI, PF, GST and PT etc, should be remitted by the contractor to the respective authorities and the challans & paid receipt in support of the same, to be submitted along with bills

- Bonus should be paid by the contractor as per the Bonus Act.

- Payment of National and festival holidays should be paid by the contractor (13 days including Dr. B.R. Ambedkar Jayanthi) in addition, any leave declared by the state or central Govt to be paid  by the contractor,

3) Before commencement of the work by the contactor shall collect Form III from the BEML Ltd as per contract labour (R&A) 1970 and  obtain license from the appropriate authorities and to be submitted at the earliest .

4)    Further, any enhancement of statutory payments like minimum wages as & when notified by the competent authority, hike in DA, Bonus & corresponding statutory charges as applicable etc., during the period of contract will be compensated by BEML at actual gate attendance basis for minimum no of labours engaged.

The following conditions are deemed to be included in the quote:

- The entry and exit of workman into the factory area are controlled by the security authorities of the company.  The contractor should strictly adhere to the timings of entry and exit laid down by the authorities and the rate quoted is deemed to include for the same.

- NOTE: For Non-performance of works specified at individual items all as per tender will attract proportionate recovery while processing the bills. Enclosed at annexure-A

- The contract shall be for a period of Two years.

- BEML Limited shall reserve the right to short close the contract by giving One month notice or without notice for breach of contract or without assigning any reason whatsoever.

- Personnel engaged shall be on duty in the shift of 8 hours duration.

- In case of exigency of work or for additional shift duty if required, the contractor should provide the personnel as required by the management.

- Personnel engaged should ensure perfect discipline and behavior and diligent performance of duties and in no circumstances, they may cause any interference, annoyance or nuisance to the officials of the Company.

- The Personnel shall report for the duty in uniform and shoes, which are to be provided by the Agency/Contractor.

- The Supervisor should ensure control over their personnel.

- An allowance of Rs.10/- per day per person and Rs.20/- per day per person to be made for TCL’s working in 2nd and 3rd Shifts.

- The agency should maintain adequate reserve strength to cater for establishment, leave, holiday work, etc. (But payment will be made only for the actual work executed as per tender).

BEML LIMITED

MYSORE – 570018

Sub: Maintenance contract for maintenance of Effluent Treatment plants at Equipment Division, Engine division & Township, BEML Limited, Mysore, for Two years period (2022-24)

SPECIAL TERMS AND CONDITIONS (B)

- The Firm / Company should be a experienced / specialized firm in wastewater treatment works (STP/ETP) and should have operated and maintained satisfactorily minimum of 200 KLD capacity.

b). Service should be offered on 24 x7 basis

c). Any minor/major repairs in the machineries of the plants have to be got done by the Contractor.  Required items will be organized by BEML.

d. The Agency/contractor has to maintain proper records at plants for carrying out the works in time duly certified by the concerned in charges.

e, If the scheduled works are not carriedout properly, failing which proportionate deduction will be affected

DY. GENERAL MANAGER					CONTRACTOR

BEML LIMITED, MYSORE – 570 018

SUB: Maintenance contract for maintenance of Effluent Treatment plants at Equipment Division, Engine division & Township, BEML Limited, Mysore, for Two years period (2022-24)

SCOPE OF WORK

A. SPECIFICATIONS FOR OPERATION & MAINTENANCE OF WORKS

- SCOPE OF WORK:

The effluent treatment plants located in Equipment division, Engine division & Township are to be monitored & maintained.

The agency/contractor shall operate and maintain the Effluent Treatment Plant, and all other allied works under this contract, for a period of 2 year, extendable by another 1 year however the scope of work will remain unchanged. For this period, the scope of work includes operation and maintenance of Effluent Treatment Plant and other related associated/allied appurtenant works of ATP. With the following terms & conditions:

Terms & Conditions:

- Plant operations & maintenance shall be carried out in all 3 shifts by engaging people in each shift per plant -Service should be offered on 24X7 basis.

- The bidder should fulfill all statutory requirements pertaining to satisfactory performance of the job etc.,

- The plant & equipments covered under the above contract will be totally attended to by the contractor including any “Troubleshooting” to ensure smooth and trouble-free operation.

- The contractor will monitor the performance of the ETP and take adequate actions to ensure smooth and satisfactory performance according to the norms of KSPCB/ running of the plants on a 24X7 basis.

- The contractor shall prepare and implement an effective plant maintenance plan in consultation with the officer-in-charge..

- The contractor will determine operating parameters; select settling (Chemical doses etc.) and generally optimize the process, and working of the treatment plant. Excessive chemical dozing i.e. dose more than normal should be avoided otherwise penalty shall be levied and recovered from the contractor.

- The contractor will plan about the requirement well in advance & inform the officer-in-charge to procure all spares, all consumables including chemicals, grease, lubricating oil, cleaning agents etc.

- The contractor will be responsible for keeping up-to-date record of operation inflow & outflow quantity in log book daily and any analysis carried out at site to be recorded properly. The contractor will be responsible to carry out day to day periodic maintenance, necessary to ensure to smooth and efficient performance / running of all equipments / instruments comprising the ETP and maintaining the record of the same.

- The contractor will employ the staff for operation and maintenance of the Plant. The above staff shall be distributed in three shifts as per the direction of officer-in-charge.

- The contractor shall make the arrangement of reliever for weekly off / holiday etc. Absence on any ground like weekly off or holiday shall not be considered. The presence of staff in each shift should be marked in muster to be maintained at office of shift in charge at Effluent Treatment Plant that shall be considered as final. The Contractor’s staff must mark their presence in this muster.

- The staff of contractor will always remain in contact with the officer In charge of the ETP and follow their instructions.

- Unsatisfactory and inefficient running of the plant and unnecessary and excessive usage of spare, consumable, etc. supported by the reasons which are under control of contractor will be highly objected/penalized proportionately.

- It is required that periodically a technical expert will inspect the plant regularly and will suggest if required, to improve the efficiency and working of the plant etc.,. No separate payment will be made for such works.

- Contractor will comply with all safety rules and regulations and all inter disciplinary as followed by the BEML.

- The Employer will not be responsible for any accident /injury to the staff of the contractor. Further the Employer will not provide any insurance or medical facility to the staff of contractor. The responsibility lies with the contractor.

- The scope of work also includes gardening and cleaning within the plant area including floor,   railing, door, windows, light fixtures and ceiling etc. The entire premises of the plant area shall also be cleaned and maintained by the contractor regularly.

- This work is inclusive of but not limited to operation, maintenance, housekeeping, cleaning, removing of sludge & dispose it off  at landfill site provided by BEML.

- Electricity and water required for operation & maintenances of the plant will be provided by the BEML free of cost.

- The contractor shall also dispose of the sludge, screenings, grit and any other material by deploying men, machinery and vehicle without extra cost, as per instructions of officer-in-charge, to the site provided by BEML.

- The contractor scope includes Submission of monthly cess return, annual return under Hazardous waste. Plastic waste or any other waste requirement from KSPCB from time to time.

2.	OUTPUT AND OPERATIONAL GUARANTEES

The contractor is fully responsible for treating all the Sewage/Effluent reaching at the inlet chamber. The performance of the contractor shall be treated as unsatisfactory if he fails to treat the complete sewage or does not maintain the guarantees excepting in force major condition or fails to fulfill other conditions of the contract.

3.	TREATED EFFLUENT QUALITY

The contractor shall operate the Effluent /Aeration Treatment Plant in such a way that at all times the treated effluent quality is as per specified standards of KSPCB (as specified in the consent)

4.	TREATED SLUDGE DISPOSAL

The contractor shall operate the Effluent / Aeration Treatment Plant, the dried sludge from the sludge drying beds should be collected & handed over to Landscaping department for the utilization of the sludge within the premises.

5.	TESTS TO BE CARRIED OUT DURING O&M PERIOD

The sampling should be done once every month as instructed by officer-in-charge and the samples should be sent to any approved environmental laboratory by the contractor for parameters as applicable as per KSPCB consent order of each plant.

6.  STAFF / SUPERVISORY

- The supervisor deployed should have knowledge in the field of Environmental Engineering shall be with Engineering back ground specialization in Environmental Engineering for maintaining day to day activities and also should be capable in preparing the correspondence documents for submission as per KSPCB with concurrence and approval of BEML.

- The contractor shall give or provide all necessary help during the O&M by a competent person having adequate knowledge of the operation and Maintenance to be carried out (including the methods and techniques required), the hazards likely to be encountered and methods of preventing accident) as may be required for the satisfactory working of the entire plant.

- List of staff is to be given by the agency to the officer-in-charge and advance intimation to be given before deputing/removing any staff from site during the period of contract.

- Safety items, required tools for maintenance of equipments are to be provide at all plants from the bidder with no additional cost.

- SHUTDOWNS:

The necessary works assigned to the contractor by the BEML  shall be completed within the time schedule fixed by the Engineer & within the approved shut down period.

- SECURITY REGULALTIONS: The contractor shall abide by and also observe all security regulations promulgated from time to time by the employer.

- The contractor, his supervisors and workmen shall observe entry and exit timings strictly.

- After completion of daily work activity, the site has to be cleared of all debris etc.,

- The successful bidder shall start the work immediately after obtaining gate passes.

- It is the responsibility of the bidder to develop and maintain good housekeeping and garden in the ATP premises.

7. 	SITE VISIT

- The Bidder at his own responsibility and risk is encouraged to visit and examine the Site of Works and its surroundings and obtain all information that may be necessary for preparing the Tender. The cost of visiting the site shall be at the Bidders own expense.

8. You shall follow strictly the disciplinary rules of the company that are in force from time to time.

9. You shall adhere to all the safety regulations that are in force in the work area.

- 10.  Any item outside the scope as expressed above shall be carried out on our request on mutually agreed terms

11. Requisite forms for filing periodical returns as required by KSPCB authorities have to be filed and submitted only the claims from KSPCB will be made by BEML.

12. All required periodic sample analysis reports to be maintained by you, all correspondence such as submitting reports, watercess, environmental audit report and all other correspondences to be made to KSPCB are to be carried out time to time without any delay & any necessary KSPCB fees/claims will made by Beml.

DY. GENERAL MANAGER					         CONTRACTOR

Annexure-I

Penalty Clause:

| 1 | Insufficient Labour deployment & for any complaints towards Non- performance of the assigned job considering in a given calender month | 1% of monthly bill value |
| --- | --- | --- |
| 2 | Any shortage of materials in a given calender month | Proportionate deduction in the work content will be done from the monthly bill |
| 3 | Any complaints/notice received from M/s. KSPCB /ISO 14000 audit regarding non satisfactory performance of any of the works as detailed in the scope of works & non compliance of prescribed parameters. | a) 1 parameter/compalaint - 1% monthly bill b) 2 to 3 parameter/compalaint - 3% monthly bill c) 4 to 6 parameter/compalaint - 5% monthly bill d) 7 to 10 parameter/compalaint -10% monthly bill e)>10 parameter/compalaint - 20% monthly bill |
| 4 | ID Card should be issued to all Contract labour engaged and supplied within 15 days of the Purchase Order. | Compensation payable (Minimum): 0.1% per week of delay from the contract monthly bill Maximum compensation leviable: 1% of the contract monthly bill |
| 5 | Bonus to be disbursed to all contract labourers as per Government notification from time to time. | Compensation payable (Minimum): 0.1% per week of delay from the contract monthly bill Maximum compensation leviable: 1% of the contract monthly bill |
| 6 | Submission of Employer’s Liability Insurance Policy | Compensation payable (Minimum): 0.1% per week of delay from the contract monthly bill Maximum compensation leviable: 1% of the contract monthly bill |
| 7 | Submission of Security deposit in form of Bank Guarantee. | Compensation payable (Minimum): 0.1% per week of delay from the contract monthly bill Maximum compensation leviable: 1% of the contract monthly bill. |
| 8 | Delay in remittance of GST | Compensation payable (Minimum): 0.1% per week of delay from the contract monthly bill Maximum compensation leviable: 1% of the contract monthly bill. |
| 9 | Monthly wages to be remitted to individual Contract labour Bank Account on or before 7th of every month and Acquaintance slip to be submitted to Welfare Dept., immediately. | Compensation payable (Minimum): 0.1% per week of delay from the contract monthly bill Maximum compensation leviable: 1% of the contract monthly bill. |
| 10 | Delay in remittance/filing of the returns of PF/ESIC Contributions. | Compensation payable (Minimum):0.1% per week of delay from the contract monthly bill. Management reserves the right to withhold further payment of bills. Maximum compensation leviable: 1% of the contract monthly bill |

| BEML LIMITED, MYSORE |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The following blank Schedule ‘A’- Bill of quantities to be filled with the rates by the tenderer and to be returned duly signed along with the Tender. |  |  |  |  |  |  |  |  |  |  |  |  |
| Dy. Gen. Manager |  |  |  |  |  |  |  |  |  |  |  |  |
| Materials |  |  |  |  |  |  |  |  |  |  |  |  |
| ISSUED TO: |  |  |  |  | Period of contract: |  |  |  | TWO YEARS |  |  |  |
|  |  |  |  |  | EMD : |  |  |  | 1,66,000.00 |  |  |  |
| Sub: Maintenance contract for maintenance of Effluent Treatment plants at Equipment Division, Engine division & Township, BEML Limited, Mysore, for Two years period (2022-24) SCHEDULE ‘A’ – BILL OF QUANTITIES |  |  |  |  |  |  |  |  |  |  |  |  |
| Sl. No. |  |  | Description |  |  |  | Unit | Qty. |  | Rate |  | Amount Rs. |
| A) Materials & Tools required |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Phenol Perfumed Brand: Blossom, Black Belt, Ozone |  |  |  |  |  | Lit | 360 |  |  |  |  |
| 2 | Coconut brooms |  |  |  |  |  | Nos | 144 |  |  |  |  |
| 3 | Soft brooms Brand : Monkey(555) / Mothi / Maharani |  |  |  |  |  | Nos | 72 |  |  |  |  |
| 4 | Cleaning brush |  |  |  |  |  | Nos | 144 |  |  |  |  |
| 5 | Cleaning Acid |  |  |  |  |  | Lit | 360 |  |  |  |  |
| 6 | Bleaching powder |  |  |  |  |  | Kg | 600 |  |  |  |  |
| 7 | Rubber Hand gloves Sets |  |  |  |  |  | Pair | 720 |  |  |  |  |
| 8 | Nose mask |  |  |  |  |  | Nos | 720 |  |  |  |  |
| 9 | Bath Soap not less than 100gms in weight (Lifebuoy / Rexona/ Mysore Sandal ) |  |  |  |  |  | Nos | 216 |  |  |  |  |
| 10 | Washing Soap not less than 200gms in weight ( Nirma / Arassan / Rin ) |  |  |  |  |  | Nos | 216 |  |  |  |  |
| 11 | Mosquito spray (Malathion insecticide) |  |  |  |  |  | Lit | 24 |  |  |  |  |
| 12 | Stitched Uniform sets -2 No shirts & 2 no pants per year ( 2 x 12 x 2) |  |  |  |  |  | Sets | 36 |  |  |  |  |
| 13 | Gum Boots |  |  |  |  |  | Sets | 9 |  |  |  |  |
| 14 | Safety shoes with 2 Pair socks of reputed make of Bata / Safetix / Allen Cooper / Liberty. |  |  |  |  |  | Sets | 9 |  |  |  |  |
| 15 | Gear oil 140 grade |  |  |  |  |  | Lit | 120 |  |  |  |  |
| 16 | Gear oil 320 grade |  |  |  |  |  | Lit | 120 |  |  |  |  |
| 17 | Oil seal of size 40 X 52 X 7 |  |  |  |  |  | Nos. | 50 |  |  |  |  |
| 18 | Oil seal of size 42 X 24 X 8 |  |  |  |  |  | Nos. | 20 |  |  |  |  |
| 19 | Rubber washers for aerators |  |  |  |  |  | Nos. | 24 |  |  |  |  |
| 20 | SKF Bearing No. 6306 for ATP agitator motors |  |  |  |  |  | Nos. | 6 |  |  |  |  |
| 21 | SKF Bearing No. 6206 for ATP agitator motors |  |  |  |  |  | Nos. | 6 |  |  |  |  |
| 22 | Blower V-Belt : G18 EXCON B1465 [LP/B56] |  |  |  |  |  | Nos. | 24 |  |  |  |  |
| 23 | Plastic heavy-duty basin (medium size) |  |  |  |  |  | Nos | 6 |  |  |  |  |
| 24 | Spades (Mumty-medium size) |  |  |  |  |  | Nos | 3 |  |  |  |  |
| 25 | Sprayer for medicine of 15 Ltr capacity (hand pumping type) |  |  |  |  |  | Nos | 2 |  |  |  |  |
| 26 | Hand shovels |  |  |  |  |  | Nos. | 3 |  |  |  |  |
| 27 | Rechargeable Torch |  |  |  |  |  | Nos. | 6 |  |  |  |  |
| 28 | Safety Helmet |  |  |  |  |  | Nos. | 6 |  |  |  |  |
| B | Activity |  |  |  |  |  |  |  |  |  |  |  |
| 29 | Operation, Monitoring & Maintenance of Effluent treatment plants as per prescribed norms of KSPCB maintaining proper records of inflow & out flow and other connected records, monitoring all the tanks, periodical cleaning both in & around Plants etc., all as specified and directed at Equipment division, Engine division and in township all as per scope of work mentioned by engaging required labours, statutory materials, tools etc., listed in Special Terms & conditions (A) & (B) and as detailed above in regular working days and also on Sundays & holidays ( 24 x7) all as directed by Engineer-in-charge or supervisor. NOTE : i) Carrying out of above works for all 3 no plants at Equipment Divn, Engine Divn & Township on daily basis (24x7). Maintenance of One plant for a period of one month is considered as ONE job. (3-Plants x 24 months) = 72 jobs ii) The sufficient number of labours in 1st, 2nd & 3rd shift to be engaged and monitored round the clock throughout the year. |  |  |  |  |  | JOB | 72 |  |  |  |  |
| 30 | Analysis of waste water Effluent : The sampling should be done once in every month as instructed by officer-in-charge and the samples should be sent to any approved KSPCB laboratory by the agency for parameters as applicable as per KSPCB consents (existing parameters as mentioned below) for all the three plants and reports to be submitted to the office. i) Equipment : pH value, BOD, COD, TSS, Ammonical Nitrogen (NH4-N), Total Nitrogen, Faecal Coliform, Conductivity, Chloride as Cl, Colour & Odour, Oil & Grease, Sulphate. ii) Engine Division : pH value, BOD, COD, TSS, Ammonical Nitrogen (NH4-N), Total Nitrogen, Faecal Coliform, Conductivity, Chloride as Cl, Colour & Odour, Oil & Grease, Sulphate. iii) Township : pH value, BOD, COD, TSS, Ammonical Nitrogen (NH4-N), Total Nitrogen, Faecal Coliform Note: This includes Collection of samples from all the three plants (Equipment Divn, Engine Divn and Township plants) and conducting analysis as prescribed by KSPCB for every month is considered as One Job |  |  |  |  |  | JOB | 24 |  |  |  |  |
| 31 | Mechanized Cleaning: Removal of sludge, liquid mixed with solids etc., from Aeration tank / Sludge tank etc., by using high pressure suction Machine with tanker capacity 5000- 7000Liters and disposing at safe place. Note: Removal of sludge containing One full load of tanker of capacity 5000- 7000 Liters is considered as One job. The jobs catered are provisional & shall be utilized as & when required only. |  |  |  |  |  | JOB | 30 |  |  |  |  |
| 32 | Deploying Supervisor for organizing day to day works: Monitoring the performance of all 3 no. plants and to take adequate actions to ensure smooth and satisfactory performance according to the norms of KSPCB of all the plants. Periodicity : All working days Note: Deploying highly skilled supervisor, with knowledge in the field on all working days & on holidays during exigency for a period of one month is considered as one job. |  |  |  |  |  | JOB | 24 |  |  |  |  |
| 33 | Liaison works with KSPCB viz: The scope includes for Preparation of documents / details involved for Filing of periodical returns as required by the KSPCB or any other statutory authorities and submission to concerned authority. Also, any related follow up works with KSPCB to be arranged by the agency as & when arises during the pendency of contract. Requisite fees if any will be paid by BEML against the demand notice from the authorities. Note: The liaison work/ submission of returns & follow up work with KSPCB is as listed below: i) Submission of Analysis of treated water –Quarterly ii) submission of Stack emission test reports, Ambient Air & Ambient Noise level etc. –Yearly iii) Form- 3,4,9 & 13 – Yearly iv) Form No. VIII, IX-Half yearly v) Form 8 & 9 –Half yearly etc., or Any other relevant assignments / submission of records from time to time prescribed by KPCB. Note: a) The above mentioned laisioning work which needs to be carried out monthly/ quarterly/ half yearly / yearly periodical submission to KSPCB for one year is considered as one job. b) The contractor has to make a claim yearly after attending all the works required. |  |  |  |  |  | JOB | 2 |  |  |  |  |
| Total Rs. |  |  |  |  |  |  |  |  |  |  |  |  |
| GST extra as applicable. |  |  |  |  |  |  |  |  |  |  |  |  |

(RUPEES________________________________________________________

______________________________________________________________)

Sign. of Contractor with seal