## LCC summary
ANNUAL LCC for SUB SYSTEM - HVAC SYSTEM
| Life Cycle: | 35 | years
| Train-set Consist: | 6 | cars/train-set
| Annual Mileage: | 150000 | km
| Operating Time | 5475 | hours/year
| Labor Rate: | 484 | INR
| Currency: | 1 | EUR | 90 | Rupee
|  | 1 | JPY | 0.62585 | Rupee
|  | 1 | USD | 75 | Rupee
Currency: Rupee
SL NO | HVAC System | Average figure per year per one train-set
|  | Man-Hour | Labor Cost | Material Cost | Total Cost
1 | Corrective Maintenance | 23.9388 | 11586.3728 | 36314.9989 | 47901.3718
2 | Preventive Maintenance | 192 | 92928 | 0 | 92928
3 | Overhaul Maintenance | 139.2583 | 67401.0103 | 1054275.1714 | 1121676.1817
Total |  | 355.1971 | 171915.3831 | 1090590.1703 | 1262505.5535
Percentage |  |  | 13.62% | 86.38% | 100%
Currency: USD
SL NO | HVAC System | Average figure per year per one train-set
|  | Man-Hour | Labor Cost | Material Cost | Total Cost
1 | Corrective Maintenance | 23.9388 | 154.485 | 484.2 | 532.2375
2 | Preventive Maintenance | 192 | 1239.04 | 0 | 1032.5333
3 | Overhaul Maintenance & Others | 139.2583 | 898.6801 | 14057.0023 | 12463.0687
Total |  | 355.1971 | 2292.2051 | 14541.2023 | 16833.4074
Percentage |  |  | 13.62% | 86.38% | 100%
Note - THE MATERIAL COST MENTIONED IN THE LCC IS AS PER PRESENT RATES & THERE WILL BE 4% ESCALATION YEAR ON YEAR BASIS

## LCC per year
ANNUAL LCC for SUB SYSTEM - HVAC SYSTEM
Life Cycle Cost Model Elements | Recurring Costs (Rupee by year)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | Sum
Corrective Maintenance | 0 | 0 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 50804.4852 | 1676548.0116
Labor Cost | 0 | 0 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 12288.5773 | 405523.0495
Material Cost | 0 | 0 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 38515.9079 | 1271024.9621
Preventive Maintenance | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 3252480
Labor Cost | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 92928 | 3252480
Material Cost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Overhaul & others | 0 | 0 | 0 |  | 261780 | 0 | 1982307 | 0 | 0 | 7698810.72 | 0 | 0 | 0 | 4584096.6 | 261780 | 0 | 0 | 0 | 0 | 7698810.72 | 1982307 | 0 | 0 | 0 | 261780 | 0 | 0 | 4584096.6 | 0 | 7698810.72 | 0 | 0 | 0 | 0 | 2244087 | 39258666.36
Labor Cost |  |  |  |  | 10164 |  | 137940 |  |  | 402726.72 |  |  |  | 348189.6 | 10164 |  |  |  |  | 402726.72 | 137940 |  |  |  | 10164 |  |  | 348189.6 |  | 402726.72 |  |  |  |  | 148104 | 2359035.36
Material Cost |  |  |  |  | 251616 |  | 1844367 |  |  | 7296084 |  |  |  | 4235907 | 251616 |  |  |  |  | 7296084 | 1844367 |  |  |  | 251616 |  |  | 4235907 |  | 7296084 |  |  |  |  | 2095983 | 36899631
Total_Cost | 92928 | 92928 | 143732.4852 | 143732.4852 | 405512.4852 | 143732.4852 | 2126039.4852 | 143732.4852 | 143732.4852 | 7842543.2052 | 143732.4852 | 143732.4852 | 143732.4852 | 4727829.0852 | 405512.4852 | 143732.4852 | 143732.4852 | 143732.4852 | 143732.4852 | 7842543.2052 | 2126039.4852 | 143732.4852 | 143732.4852 | 143732.4852 | 405512.4852 | 143732.4852 | 143732.4852 | 4727829.0852 | 143732.4852 | 7842543.2052 | 143732.4852 | 143732.4852 | 143732.4852 | 143732.4852 | 2387819.4852 | 44187694.3716
Corrective Maintenance
Labor cost per year per train | 12288.5773 | [34 empty] | 3271555.53
Material cost per year per train | 38515.9079
A service Check (15 days)
Labor cost per task per train | 1452
Material cost per task per train | 0
Labor cost per year per train | 34848
Material cost per year per train | 0
B service Check (180 days)
Labor cost per task per train | 23232
Material cost per task per train | 0
Labor cost per year per train | 46464
Material cost per year per train | 0
B service Check (365 days)
Labor cost per task per train | 11616
Material cost per task per train | 0
Labor cost per year per train | 11616
Material cost per year per train | 0
Car Overhaul (5years)
Labor cost per task per train | 10164
Material cost per task per train | 251616
Car Overhaul ( 7 years)
Labor cost per task per train | 137940
Material cost per task per train | 1844367
Car Overhaul ( 10years)
Labor cost per task per train | 392562.72
Material cost per task per train | 7044468
Car Overhaul ( 14 years)
Labor cost per task per train | 210249.6
Material cost per task per train | 2391540

## Corrective
Corrective Maintenance Cost Details for HVAC System
Currency: Rupee
SL NO | Reference ID | Item Description | Q'ty in each Car | [5 empty] | Q'ty in Train | Item Failure Rate | MTBF | Repairable | MTTR | No. of Men | Material cost per item / 1 time | No. of Failure per train per year | Manhour per train per year | Material Cost per train per year
|  |  | DM | T | M | M | T | DM |  | failures/ hours | hours/failure | (Y/N) | hours
1 |  | HVAC | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [6 empty] | 0 | 0 | -
2 |  | Condensor Coil | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 6.4e-07 | 1562500 | Y | 8 | 2 | 120559 | 0.084096 | 1.3455 | 253.4632
3 |  | Compressor | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 3.08e-06 | 324675.3247 | N | 8 | 2 | 63391 | 0.40471 | 6.4754 | 25655.0984
4 |  | Sight glass | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 1e-08 | 100000000 | N | 6 | 2 | 1975 | 0.001314 | 0.015768 | 2.5952
5 |  | Condenser fan motor | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 8.22e-07 | 1216545.0122 | N | 0.5 | 2 | 14490 | 0.10801 | 0.10801 | 1565.0765
6 |  | Condenser fan | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 1.37e-06 | 729927.0073 | N | 0.5 | 1 | 3465 | 0.18002 | 0.090009 | 623.7624
7 |  | HP Switch | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 4.1e-07 | 2439024.3902 | N | 0.5 | 1 | 763 | 0.053874 | 0.026937 | 41.1059
8 |  | HP tranducer | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 4.1e-07 | 2439024.3902 | N | 0.5 | 1 | 3735 | 0.053874 | 0.026937 | 201.2194
9 |  | LP Switch | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 4.1e-07 | 2439024.3902 | N | 0.5 | 1 | 808 | 0.053874 | 0.026937 | 43.5302
10 |  | LP Transducer | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 4.1e-07 | 2439024.3902 | N | 0.5 | 1 | 3735 | 0.053874 | 0.026937 | 201.2194
11 |  | Liquid line solenoid valve | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 9.25e-06 | 108108.1081 | N | 6 | 2 | 3000 | 1.2154 | 14.5854 | 764.518
12 |  | Bypass line solenoid valve | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 3.5e-08 | 28571428.5714 | N | 0.5 | 2 | 3000 | 0.004599 | 0.004599 | 3.6539
13 |  | Solenoid Valve Coil | 8 | 8 | 8 | 8 | 8 | 8 | 48 | 3.5e-08 | 28571428.5714 | N | 0.25 | 1 | 1258 | 0.009198 | 0.0022995 | 4.9577
14 |  | Hand shut-off valves | 8 | 8 | 8 | 8 | 8 | 8 | 48 | 8.22e-08 | 12165450.1217 | N | 6 | 2 | 1589 | 0.021602 | 0.25923 | 6.8652
15 |  | Filter Drier | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 2.1e-07 | 4761904.7619 | N | 1 | 2 | 1078 | 0.027594 | 0.055188 | 14.8732
16 |  | Supply fan motor | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 2e-06 | 500000 | N | 0.5 | 2 | 15525 | 0.1314 | 0.1314 | 2039.985
17 |  | Supply fan impeller | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 1.37e-06 | 729927.0073 | N | 0.5 | 2 | 8496 | 0.18002 | 0.18002 | 1529.4329
18 |  | Evaporator Coil | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 6.4e-07 | 1562500 | Y | 8 | 2 | 102623 | 0.042048 | 0.67277 | 107.8773
19 |  | TX Valve | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 4.6e-07 | 2173913.0435 | N | 6 | 2 | 2710 | 0.060444 | 0.72533 | 163.8032
20 |  | Heater Bank | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 8.22e-08 | 12165450.1217 | Y | 1 | 1 | 5968 | 0.0054005 | 0.0054005 | 0.80576
21 |  | Thermal fuse | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 1e-07 | 10000000 | N | 0.25 | 1 | 482 | 0.00657 | 0.0016425 | 3.1667
22 |  | Bimetal thermostat | 6 | 6 | 6 | 6 | 6 | 6 | 36 | 1e-07 | 10000000 | N | 0.1 | 1 | 862 | 0.01971 | 0.001971 | 16.99
23 |  | Emergency Inverter | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 3.35e-06 | 298507.4627 | Y | 0.5 | 1 | 59439 | 0.2201 | 0.11005 | 4186.3125
24 |  | Emergency Transformer | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 5.99e-07 | 1669449.0818 | N | 0.5 | 1 | 25970 | 0.039354 | 0.019677 | 1022.0312
25 |  | RAT probe | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 1.5e-07 | 6666666.6667 | N | 0.25 | 1 | 1400 | 0.009855 | 0.0024637 | 13.797
26 |  | FAT probe | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 1.5e-07 | 6666666.6667 | N | 0.5 | 1 | 1400 | 0.009855 | 0.0049275 | 13.797
27 |  | SAT probe | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 1.5e-07 | 6666666.6667 | N | 0.5 | 1 | 1400 | 0.009855 | 0.0049275 | 13.797
28 |  | Humidity Sensor | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 7.5e-08 | 13333333.3333 | N | 0.25 | 1 | 4500 | 0.0049275 | 0.0012319 | 22.1737
29 |  | Power Connector P1 | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 8.22e-08 | 12165450.1217 | N | 0.5 | 1 | 12000 | 0.0054005 | 0.0027003 | 64.8065
30 |  | Control Connector P2 | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 8.22e-08 | 12165450.1217 | N | 0.5 | 1 | 10499 | 0.0054005 | 0.0027003 | 56.7003
31 |  | Compressor1&2 contactor | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 8.22e-08 | 12165450.1217 | N | 0.25 | 1 | 8581 | 0.010801 | 0.0027003 | 92.6841
32 |  | Supply Fan, Condensor Fan1&2 & Heater contactor | 10 | 10 | 10 | 10 | 10 | 10 | 60 | 8.22e-08 | 12165450.1217 | N | 0.25 | 1 | 5873 | 0.027003 | 0.0067507 | 158.5869
33 |  | Inverter Contactor | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 8.22e-08 | 12165450.1217 | N | 0.25 | 1 | 5873 | 0.0054005 | 0.0013501 | 31.7174
34 |  | Circuit breakers (all type) | 12 | 12 | 12 | 12 | 12 | 12 | 72 | 8.22e-08 | 12165450.1217 | N | 0.25 | 1 | 3800 | 0.032403 | 0.0081008 | 123.1323
35 |  | Control circuit breaker | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 8.22e-08 | 12165450.1217 | N | 0.25 | 1 | 4102 | 0.0054005 | 0.0013501 | 22.153
36 |  | Rotary switch | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 8.22e-08 | 12165450.1217 | N | 0.15 | 1 | 306 | 0.0054005 | 0.00081008 | 1.6526
37 |  | PLC | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 4.99e-06 | 200400.8016 | Y | 0.5 | 1 | 80000 | 0.32784 | 0.16392 | 1468.7366
38 |  | Relay 24V DC | 42 | 42 | 42 | 42 | 42 | 42 | 252 | 6e-07 | 1666666.6667 | N | 0.25 | 1 | 590 | 0.82782 | 0.20695 | 488.4138
39 |  | Relay 110V DC | 14 | 14 | 14 | 14 | 14 | 14 | 84 | 6e-07 | 1666666.6667 | N | 0.25 | 1 | 590 | 0.27594 | 0.068985 | 162.8046
40 |  | DC-DC Converter | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 7.5e-07 | 1333333.3333 | N | 0.25 | 1 | 7729 | 0.049275 | 0.012319 | 380.8465
41 |  | FA Damper Actuator | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 1.03e-06 | 970873.7864 | N | 0.5 | 1 | 11142 | 0.13534 | 0.067671 | 1507.9806
42 |  | RA Damper Actuator | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 1.03e-06 | 970873.7864 | N | 0.5 | 1 | 11142 | 0.067671 | 0.033835 | 753.9903
[17 empty] | 25.3896 | 38515.9079
[12 empty] | Labour Cost Per Year Per Train |  |  |  |  | 12288.5773

## Preventive
Preventive Maintenance Cost Details for HVAC System
Currency: Rupee
SL NO | Reference ID | Item Description | Q'ty in each Car | [5 empty] | Q'ty in Train | A Service check (15 days) | [5 empty] | B - Service check(180 Days) | [5 empty] | B - Service check(360 Days)
[10 empty] | Description | MTTR | No. of Men | Material cost | Manhour per train per task | Material Cost per train per task | Description | MTTR | No. of Men | Material cost | Manhour per train per task | Material Cost per train per task | Description | MTTR | No. of Men | Material cost | Manhour per train per task | Material Cost per train per task
|  |  | DM | T | M | M | T | DM |  |  | hours |  | / 1 time |  |  |  | hours |  | / 1 time |  |  |  | hours |  | / 1 time
1 |  | HVAC
2 |  | Filter Cleaning(Fresh air) | 2 | 2 | 2 | 2 | 2 | 2 | 12 | Cleaning airfilter. | 0.1 | 1 | - | 1.2 | - | N/A |  |  |  | - | - | N/A |  |  |  | - | -
3 |  | Filter Cleaning(Mixed air) | 3 | 3 | 3 | 3 | 3 | 3 | 18 | Cleaning airfilter. | 0.1 | 1 | - | 1.8 | - | N/A |  |  |  | - | - | N/A |  |  |  | - | -
4 |  | HVAC Inspection & Cleaning (Evaporator & Condenser Coil , Emergency inverter, transformer, FAT RAT SAT & Humisity sensor) | 2 | 2 | 2 | 2 | 2 | 2 | 12 | N/A | - | - | - | - | - | Examine cleaning & inspection of mention components and Electrical connections check | 2 | 2 |  | 48 | - | N/A | - | - | - | - | -
5 |  | HVAC Inspection & Cleaning (Supply fan & condenser fan motor, Compressor, Pressure Transducers, Heater bank, Contactors & circuit breakers, PLC , Fresh air & return air damper, Doors sealing gaskets, Thermal insulation , Sight glass) | 2 | 2 | 2 | 2 | 2 | 2 | 12 | N/A | - | - | - | - | - | N/A | - | - | - | - | - | Examine all sub components, air pressure cleaning of components and Electrical connections check | 1 | 2 |  | 24 | -
[14 empty] | 3 | 0 |  |  |  |  | 48 | 0 |  |  |  |  | 24 | 0
[10 empty] | A service check | [5 empty] | B4 service check | [5 empty] | B8 service check
[10 empty] | Labor cost per task per train |  |  | 1452 |  |  | Labor cost per task per train |  |  | 23232 |  |  | Labor cost per task per train |  |  | 11616
[10 empty] | Material cost per task per train |  |  | 0 |  |  | Material cost per task per train |  |  | 0 |  |  | Material cost per task per train |  |  | 0
[10 empty] | Labor cost per year per train |  |  | 34848 | Excluding B service check |  | Labor cost per year per train |  |  | 46464 |  |  | Labor cost per year per train |  |  | 11616
[10 empty] | Material cost per year per train |  |  | 0 | Excluding B service check |  | Material cost per year per train |  |  | 0 |  |  | Material cost per year per train |  |  | 0
[10 empty] | Task No Calculation |  |  |  | Actual Task No
|  | A service check | 15 | days | 2 times per month |  |  |  |  | 24 | times per year |  |  | 24 | times per year
|  | B1 service check | 45 | days | 2 times per 3months |  |  |  |  | 8 | times per year |  |  | 8 | times per year
|  | B4 service check | 180 | days | 2 times per year |  |  |  |  | 2 | times per year |  |  | 2 | times per year
|  | B8 service check | 360 | days | 1 time per year |  |  |  |  | 1 | times per year |  |  | 1 | times per year

## Overhaul
Overhaul Cost Details for HVAC System
Currency: Rupee
SL NO | Reference ID | Item Description | Q'ty in each Car | [5 empty] | Q'ty in Train | General Overhaul (5 years ) | [5 empty] | Others ( Every 7 years ) | [5 empty] | Others ( Every 10 Years ) | [5 empty] | Others ( Every 14 Years )
[10 empty] | Description | MTTR | No. of Men | Material cost | Manhour per train per task | Material Cost per train per task | Description | MTTR | No. of Men | Material cost | Manhour per train per task | Material Cost per train per task | Description | MTTR | No. of Men | Material cost | Manhour per train per task | Material Cost per train per task | Description | MTTR | No. of Men | Material cost | Manhour per train per task | Material Cost per train per task
|  |  | DM | T | M | M | T | DM |  |  | hours |  | / 1 time (INR) |  |  |  | hours |  | / 1 time (INR) |  |  |  | hours |  | / 1 time (INR) |  |  |  | hours |  | / 1 time (INR)
1 |  | HVAC | 2 | 2 | 2 | 2 | 2 | 2 | 12
2 |  | Condensor Coil | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [12 empty] | Condensor coil replacement | 8 | 2 | 120559 | 384 | 2893416
3 |  | Compressor | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [12 empty] | Compressor Replacement | 8 | 2 | 63391 | 384 | 1521384
4 |  | Sight glass | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [6 empty] | Sight glass replacement | 0.25 | 1 | 1975 | 6 | 47400
5 |  | Condenser fan motor | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [6 empty] | Replacement of Motor bearing | 0.5 | 2 | 3622.5 | 24 | 86940 | [6 empty] | Replacement of Motor | 0.5 | 2 | 14490 | 24 | 347760
6 |  | Condenser fan | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [6 empty] | Replacement of Impeller | 0.5 | 1 | 3465 | 12 | 83160
7 |  | HP Switch | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [12 empty] | HP Switch replacement | 0.25 | 1 | 763 | 6 | 18312
8 |  | HP tranducer | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [18 empty] | HP transducer Replacement | 0.17 | 1 | 3735 | 4.08 | 89640
9 |  | LP Switch | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [12 empty] | LP Switch replacement | 0.25 | 1 | 808 | 6 | 19392
10 |  | LP Transducer | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [18 empty] | LP transducer Replacement | 0.17 | 1 | 3735 | 4.08 | 89640
11 |  | Liquid line solenoid valve | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [18 empty] | Liquid line solenoid valve replacement | 8 | 1 | 3000 | 192 | 72000
12 |  | Bypass line solenoid valve | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [18 empty] | Bypass line solenoid valve replacement | 0.5 | 1 | 3000 | 12 | 72000
13 |  | Solenoid Valve Coil | 8 | 8 | 8 | 8 | 8 | 8 | 48 | [18 empty] | solenoid valve coil replacement | 0.5 | 1 | 1258 | 24 | 60384
14 |  | Hand shut-off valves | 8 | 8 | 8 | 8 | 8 | 8 | 48 | [18 empty] | Replacement of Hand shutoff valve | 0.25 | 1 | 1589 | 12 | 76272
15 |  | Filter Drier | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [6 empty] | Filter drier replacement | 0.25 | 2 | 1078 | 12 | 25872
16 |  | Supply fan motor | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [6 empty] | Replacement of Motor bearing | 0.5 | 2 | 3881.25 | 12 | 46575 | [6 empty] | Replacement of Motor | 0.5 | 2 | 15525 | 12 | 186300
17 |  | Supply fan impeller | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [6 empty] | Replacement of Impeller | 0.5 | 1 | 8496 | 12 | 203904
18 |  | Evaporator Coil | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [6 empty] | Evaporator coil replacement | 8 | 2 | 102623 | 192 | 1231476
19 |  | TX Valve | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [6 empty] | TX Valve replacement | 0.25 | 2 | 2710 | 12 | 65040
20 |  | Heater Bank | 2 | 2 | 2 | 2 | 2 | 2 | 12 | Heater bank replacement | 0.25 | 2 | 5968 | 6 | 71616
21 |  | Thermal fuse | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [18 empty] | Replacement Of OHP | 0.25 | 1 | 482 | 3 | 5784
22 |  | Bimetal thermostat | 6 | 6 | 6 | 6 | 6 | 6 | 36 | [18 empty] | Replacement Of Bimetal thermostate | 0.25 | 1 | 862 | 9 | 31032
23 |  | Emergency Inverter | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [12 empty] | Invertor replacement | 0.5 | 1 | 59439 | 6 | 713268
24 |  | Emergency Transformer | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [12 empty] | Transformer replacement | 0.5 | 1 | 25970 | 6 | 311640
25 |  | RAT probe | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [18 empty] | Temprature probe replacement | 0.25 | 1 | 1400 | 3 | 16800
26 |  | FAT probe | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [18 empty] | Temprature probe replacement | 0.25 | 1 | 1400 | 3 | 16800
27 |  | SAT probe | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [18 empty] | Temprature probe replacement | 0.25 | 1 | 1400 | 3 | 16800
28 |  | Humidity Sensor | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [6 empty] | Hunidity Sensor replacement | 0.25 | 1 | 4500 | 3 | 54000
29 |  | Power Connector P1 | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [18 empty] | Replacement of P1 connector | 0.25 | 1 | 12000 | 3 | 144000
30 |  | Control Connector P2 | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [18 empty] | Replacement of P2 connector | 0.25 | 1 | 10499 | 3 | 125988
31 |  | Compressor1&2 contactor | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [12 empty] | Compressor contactor replacement | 0.17 | 1 | 8581 | 4.08 | 205944
32 |  | Supply Fan, Condensor Fan1&2 & Heater contactor | 10 | 10 | 10 | 10 | 10 | 10 | 60 | [18 empty] | Contactor Replacement | 0.17 | 1 | 5873 | 10.2 | 352380
33 |  | Inverter Contactor | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [18 empty] | Contactor Replacement | 0.17 | 1 | 5873 | 2.04 | 70476
34 |  | Circuit breakers (all type) | 12 | 12 | 12 | 12 | 12 | 12 | 72 | [18 empty] | Replacement of circuit breaker | 0.25 | 1 | 3800 | 18 | 273600
35 |  | Control circuit breaker | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [18 empty] | Replacement of circuit breaker | 0.25 | 1 | 4102 | 3 | 49224
36 |  | Rotary switch | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [18 empty] | Replacement of rotary switch | 0.25 | 1 | 306 | 3 | 3672
37 |  | PLC | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [12 empty] | PLC replacement | 0.5 | 1 | 80000 | 6 | 960000
38 |  | Relay 24V DC | 42 | 42 | 42 | 42 | 42 | 42 | 252 | [18 empty] | Replacement of relay | 0.25 | 1 | 590 | 63 | 148680
39 |  | Relay 110V DC | 14 | 14 | 14 | 14 | 14 | 14 | 84 | [18 empty] | Replacement of relay | 0.25 | 1 | 590 | 21 | 49560
40 |  | DC-DC Converter | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [18 empty] | Replacement of DC-DC Convertor | 0.25 | 1 | 7729 | 3 | 92748
41 |  | FA Damper Actuator | 4 | 4 | 4 | 4 | 4 | 4 | 24 | [12 empty] | Damper actuator replacement | 0.25 | 1 | 11142 | 6 | 267408
42 |  | RA Damper Actuator | 2 | 2 | 2 | 2 | 2 | 2 | 12 | [12 empty] | Damper actuator replacement | 0.25 | 1 | 11142 | 3 | 133704
43 |  | Mixed Air Filter | 6 | 6 | 6 | 6 | 6 | 6 | 36 | Filter replacement | 0.25 | 1 | 3000 | 9 | 108000
44 |  | Fresh Air filter | 4 | 4 | 4 | 4 | 4 | 4 | 24 | Filter replacement | 0.25 | 1 | 3000 | 6 | 72000
[14 empty] | 21 | 251616 |  |  |  |  | 285 | 1844367 |  |  |  |  | 811.08 | 7044468 |  |  |  |  | 434.4 | 2391540
[10 empty] | C1 service check (5 Years) | [5 empty] | Every 7 years | [5 empty] | Every 10 years | [5 empty] | Every 14 years
[10 empty] | Labor cost per task per train | 10164 |  |  |  |  | Labor cost per task per train |  | 137940 |  |  |  | Labor cost per task per train |  |  | 392562.72 |  |  | Labor cost per task per train |  |  | 210249.6
[10 empty] | Material cost per task per train | 251616 |  |  |  |  | Material cost per task per train |  | 1844367 |  |  |  | Material cost per task per train |  |  | 7044468 |  |  | Material cost per task per train |  |  | 2391540