### Request for Quotation

#### (Part-B)

#### For

#### Supply of

#### " ZINC AND VITAMIN C TABLET "

#### Tender No: BR01/RM5/1003579281

#### Tender Closing date:03.10.2020, 14:00 Hours

#### To

## BEML Limited

Event Service Provider:

Vendor’s Time and Expenses: To be borne by the vendor

No representation would be entertained on any errors if found in the RFQ. However vendors to bring such errors / omissions to the notice of BEML for necessary corrective action

Confidential Document: for limited circulation among the participants of e-bid  event, for Annual requirement finalization for BEML to be conducted on “BEML SRM” Platform

# Product Specific Information:

| Enquiry No.: |  | BR01/RM5/1003579281 |  |
| --- | --- | --- | --- |
| Sl.No | Item No | Description | Qty (No’s) |
| 1. | TZI | ZINC 50MG | 45,345 |
| 2. | TSU | TAB.CELIN (VITAMIN C 500MG) | 75,575 |
| Standards Applicable |  | “As per Exhibit – A” |  |
| Delivery Schedule: |  | Please refer to “Exhibit – A” |  |
| Volume of Business |  | Total volume of business projected in “Exhibit-A” is a firm requirement. However volumes mentioned may vary substantially on either side depending on business needs. |  |
| Price Basis for e-tender Event: |  | Bidder has to forward their quote in detail like Basic Price and Applicable taxes separately in the item data column which is applicable. . Bidding to take place on per Item basis Note: - Transit Insurance, Handling Charges, etc. to vendor’s account. - Bids placed by bidder shall be unconditional and complete in all respect in line with price basis described above. Any incomplete / non-compliant offers are subject to rejection. - Vendor should also take into account inspection charges of the inspection agency, which are to be absorbed by Vendor. |  |
| Business Share & Preference |  | - Buyer reserves the right on quantum of business on such sources. - In case ordering on multiple sources, BEML reserves the right to distribute the order on more than one source at the lowest bid price received against this e bidding, on 60:40 / 50:30:20/40:30:20:10 ratios for allocation - Preference may be given to bidders bidding for the entire lot and are at the same time remain most competitive, technically suitable, meeting delivery requirements and proven sources. |  |
| Drawing/Specification |  | As per “Exhibit – A” |  |
| Supply Pattern: |  | Material to be supplied as detailed in section “Delivery Schedule” |  |
| Inspection Authority & Charges: |  | - Inspection by BEML at BEML Bangalore Complex. - The inspecting officer’s decision as regards the rejection shall be final and binding on the contractor |  |
| Mode of dispatch of offer/quote (Manual Tender Only) |  | Please send your valuable offer in a sealed cover after super scribing the tender reference No . BR01/RM5/1003579281 ZINC AND VITAMIN C TABLET and due date so as to reach us before the tender closing date of 03.10.2020/1400 HRS. Please send the offer to the address mentioned below : Asst General Manager-Purchase BEML Limited, Bangalore Complex New Thippasandra Post Bangalore-560075 Karnataka,India |  |

##### Exhibit - A

| Tentative requirement of “ZINC AND Vitamin C tablet” Division: BEML, Bangalore Complex |  |  |  |  |
| --- | --- | --- | --- | --- |
| List of Spares required |  |  |  |  |
| Sl. No. | Item Code | Item Name | UOM | Quantity |
| 1 | TZI | ZINC 50MG | No’s | 45,345 |
| 2 | TSU | TAB.CELIN (VITAMIN C 500MG) | No’s | 75,575 |
| DELIVERY SCHEDULE : IMMEDIATE Note: - The tendering process is Manual-Mode. - Please open the collaboration folder to view Tender Documents - Kindly go through all the tender documents and bid accordingly. - Please Provide Entire PRICE BREAK UP DETAILS in the BIDDER'S REMARK Section only. - To be delivered to BEML Bangalore Complex on FOR basis. - Quotation should be valid for 120 days from date of tender opening. - FAX/E-mail quotations are not acceptable and quotations received through these modes will be rejected. Incomplete and conditional offers are also liable for rejection. - If any of the vendors have defaulted in supplies/services to BEML limited after placement of purchase order or If any of the vendors have backed out from their quotation submitted for the enquires of BEML limited or If any of the vendors have given wrong Information/documents to BEML Limited along with quotations, their quotation will not be considered and their quotation will be rejected. The quotations of the Firms who have not provided Service during the Warranty period of any product supplied by them to BEML Ltd will not be considered & will be rejected. - For any technical difficulty in submitting the Bid, please contact in the following numbers: 080-22963269 / 22963141. - Any clarification in the tender, please contact in 080-25348770 / 25022638/ 25022635 E-Mail ID: rmm-1@beml.co.in |  |  |  |  |