## commercial bid
BID INVITATION NO. 6300035793
COMMERCIAL BID FORMAT
Sub : Repair and renovation of "Secretary to CMD office", 2nd floor and Room No :114, CGM (F) Chamber, 1st floor, BEML Soudha, Bangalore.
Sl. No. | Item Description | Unit | Qty | Rate (Rs.) | Amount (Rs.)
CIVIL WORKS
1 | Removing the existing loop pile carpet along with the thermofoam underlayer including shifting the material to BEML Bangalore Complex Salvage yard and cleaning of floor from dust, dirt etc complete all as specified and directed by Engineer in charge. | Sqm | 70
2 | Supplying and fixing 8mm to 8.5mm thick laminated wooden flooring manufactured by M/s. Pergo/Green ply/Sqaure foot/Try square/Hego (Abrasion resistance- AC4 ) of approved shade and colour all as detailed below; (a) Cleaning the existing surface of flooring and levelling the floor with POP/Cement mortar for undulations, if any (b)Supplying and laying 0.5 mm thick polyethylene film over the entire surface of flooring all as per manufacturer's instructions (c)Supplying and laying 1.5 mm thick underlayer foam over the entire surface of flooring before fixing wooden flooring (d) laying laminated wooden flooring 8mm to 8.5mm thick of approved shade/design including all accessories viz., reducers, corner beading end / T moulding/R profile wherever required as per site conditions etc., complete as per manufacturers instructions and all as specified and directed by Engineer in charge. Note: (1) Effective laid area of wooden floor shall only be measured for payment. (2) The rate quoted is deemed to include for wastages, taxes etc.(3) The rate is deemed to include for all types of profile beadings at the door entrance or corners or any other location while laying the floor as per site conditions. | Sqm | 70
3 | Supplying and fixing wooden skirting not less than 100 mm in height of approved thickness grade and shade/design, including all accessories as per site conditions after making good the surfaces wherever necessary etc., complete all as specified and directed by Engineer in charge. Note: (1).The rate quoted is deemed to include for any wastages, taxes etc. (2).Effective running length of wooden skirting shall only be measured for payment | Rmt | 25
4 | Supplying, cutting, fabricating and fixing powder coated aluminium frame work for glazed partition using 1.20mm thick standard M/s Jindal aluminium sections with necessary hardwares etc., complete all specified and directed by the Engineer-in-charge Note: The rate quoted for the item is deemed to include for wastages. | Kgs | 40
5 | Fixing only the available 12mm thick toughened glass of size 6'0" X 6'3" (Approx.) in the aluminium frame work secured with rubber beading, gasket with all necessary hardwares etc complete all as specified and directed by Engineer in charge | Nos | 2
6 | Supplying and fixing 12 mm thick prelaminated particle board, interior grade, prelaminated both sides with decorative choice laminations of first quality, manufactured by M/s Archid/Kitply/ Century and fixed to the aluminium frame work using necessary hardware items etc., complete all as specified and directed by Engineer in charge. Note: The rate quoted for the item is deemed to include for wastages. | Sqm | 4
7 | Reconditioning the existing sliding anodised glazed aluminium windows by removing shutters, providing new beading, cleaning the window frames, tracks, providing new rollers, removing old broken glasses of shutters & providing new 5mm thick glass manufactured by M/s. Saintgobain/Modiguard, removing the broken locking handles & providing new handles, replacement of any other hardware, accessories as per site requirement and fixing the window shutters firmly back in position so as to provide free sliding of shutters etc., complete all specified and directed by the Engineer-in-charge Note: The rate is deemed to include for (i) (a) All wastages & for providing a stool/ladder for fixing the aluminium window shutters (b) providing silicon sealant alround the new aluminium window from both inside & outside & packing tightly to avoid entry of rain water (d) Removing & refixing the existing window blinds if required as per site condition (ii) Clear window opening shall be measured for payment | Sqm | 8
8 | Removing the existing wooden door shutter together with fittings etc carefully and stacking at a place all as shown and ref-fixing the shutters back in the same location after necessary modification by cutting , plaining etc for smooth functioning etc complete all as specified and directed by Engineer in charge | Nos | 2
9 | Supplying, cutting, fabricating and fixing anodised Aluminium hollow sections of first quality, conforming relevant IS, Manufactured by M/s Jindal/Indal of standard section frame works including all necessary hardwares etc complete all as specified and directed by Engineer- in-charge. Note : Rate quoted for the item deemed to include all wastages. | Kgs | 30
10 | Laminate wall Panelling : Providing wall panelling made out of 12mm thick BWP plywood over an aluminium gridwork framing and shall be finished with 1.0mm thick laminate of approved shade and colour as per the approved design etc., complete all as specified and directed by the Officer in charge. Note: a) Aluminium Frame work shall be measured & paid separately under relevant item b) Make of Plywood and laminate shall be of M/s Archidply/Kitply /Greenply/Century.c) Rate quoted for the item is deemed to include all wastages. | Sqm | 15
11 | Enamel paint to particle board false ceiling tiles: Preparing the old painted surfaces of particle board false ceiling tiles by cleaning dirt, dust etc including necessary repairs to scratches and applying two coats of synthetic enamel paint of first quality approved brand and colour,manufactured by M/s. Asian paints/Berger paints etc., complete all as specified and directed by engineer-in-charge. Note: The rate quoted is deemed to include for a) providing and removal of scaffolding wherever necessary b) covering doors windows, floors, fittings etc., to protect from splashes. c) Washing floors, cleaning glass, joinery, electric fittings etc., and leaving the premise clean and tidy. d) Removing and replacing back the false ceiling tiles in position. | Sqm | 30
12 | Preparing the old painted surfaces of walls by scrapping, sand papering, cleaning dust, dirt etc, and applying two coats of Premium Plastic Emulsion paint of approved colour, manufactured by M/s Asian/Berger Paints, over a coat of primer, including putty wherever necessary etc., complete all as specified & directed by Engineer in charge. Note: The rate quoted is deemed to include for a) providing and removal of scaffolding wherever necessary b) covering doors windows, floors, fittings etc., to protect from splashes.c) Washing floors, cleaning glass, joinery, electric fittings etc., and leaving the premise clean and tidy. | Sqm | 100
13 | Preparing the old polished wooden surfaces by sand papering, cleaning dirt, dust etc including necessary repairs to scratches and applying two coats of French polish of first quality, approved brand and shade, conforming to relevant IS, Manufactured by M/s Asian paints/Berger including wood filler coat to achieve a glossy finish IS etc., complete all as specified and directed by Engineer -in-charge.Note: The rate quoted is deemed to include for a) providing and removal of scaffolding wherever necessary b) covering doors windows, floors, fittings etc., to protect from splashes.c) Washing floors, cleaning glass, joinery, electric fittings etc., and leaving the premise clean and tidy. | Sqm | 15
14 | Removing the existing door lock and handing over the same to BEML and Supplying and fixing new brass mortice lock with handle of first quality manufactured by M/s. Godrej/Europa, conforming to relevant IS etc complete all as specified and directed by Engineer in charge. | Nos | 2
15 | Providing and Constructing burnt brick masonry wall of required thickness in cement mortar 1:6, using table moulded bricks of first quality, conforming to relevant IS including necessary curing etc., complete all as specified and directed by Engineer in charge. Note: The rate quoted is deemed to include for providing and removal of scaffolding wherever necessary. | Cum | 0.2
16 | Providing and applying smooth Neeru finish internal plaster 20 mm thick in cement mortar 1:6 on brick/concrete surface for internal walls including finshing the surface even and smooth finish using extra cement and necessary curing etc complete all as specified and directed by Engineer in charge. Note : The rate quoted for the item is deemed to include for providing and removal of scaffolding wherever necessary. | Sqm | 1
ELECTRICAL WORKS
17 | Supplying & Laying of 2 runs of 2.5Sqmm & 1 run of 1.0Sqmm multistrand wire in pipe/condiut in walls/floor and concealing the same etc complete all as specified and directed by Engineer in charge. Note:Wire make M/s Havells/Finolex/Polycab | Rmt | 20
18 | Supplying, installing & commisioning of 1+4 PVC box with 1no 10Amp modular Switch & 4no 10Amp modular Socket etc complete all as specified and directed by Engineer in charge. Note:Make M/s Syska/Anchor | Set | 2
19 | Supplying , installing & commisioning of 15watts LED square/Rectangular type fitting of Day light color etc complete all as specified and directed by Engineer in charge. Note:Make M/s Havells/Philips/Wipro | Nos | 10
20 | Supplying & laying of 2 runs 2.5Sqmm & 1 run of 1.0Sqmm multistrand wire in pipe/conduit in walls/floor and concealing the same for wall mounting fan etc complete all as specified and directed by Engineer in charge. Note:Wire make Havells/Finolex/Polycab | Rmt | 8
21 | Supplying & fixing of 1no 10amp modular Switch & 1no 10amp modular Socket with 3 module metal box with 3module plate for wall mounting fan etc complete all as specified and directed by Engineer in charge. Note: Make Anchor Roma | Nos | 2
22 | Supplying, installing & commisioning of 300mm Sweep Wall mounting fan with remote control etc complete all as specified and directed by Engineer in charge. Note: Make Usha/Havells/Crompton. | Nos | 2
23 | Supplying, installing & commisioning of 1.5TR 5 Star Inverter type Split Air conditioner along with Mounting stand for Outdoor unit etc complete all as specified and directed by Engineer in charge. Note: Make:Voltas/Blue Star | Nos | 2
24 | Providing additional copper pipes & Drain pipe as per site requirement with proper concealing/Laying /Wraping of pipes etc complete all as specified and directed by Engineer in charge. | Rmt | 20
25 | Supplying & Laying of 2 runs of 4 Sqmm & 1 runs of 1.5 Sqmm multistrand wire Copper wire pipe/conduit in walls/floor and concealing the same. Note:Wire make Havells/Finolex/Polycab | Rmt | 30
26 | Supplying & fixing of 1no 20amp modular Switch & 1no 20amp modular Socket with 3 module metal box with 3module plate for Air conditioner etc complete all as specified and directed by Engineer in charge Note: Make Anchor Roma | Nos | 2
27 | Supplying & fixing of 32Amp Double pole MCB along with suitable box etc complete all as specified and directed by Engineer in charge. Note:Make Havells/Indocapp | Nos | 2
| Total (Civil + Electrical works) inclusive of all taxes & duties |  |  | Rs.