### Request for Quotation

#### (Part-B)

#### For supply of

#### " Electrical Works For Proposed Aerospace Facility at Metro Stores”

#### Tender No. 6300037571

#### Tender Closing date:10.02.2020, 16:00 Hours

#### To

## BEML Limited

Vendor’s Time and Expenses: To be borne by the vendor

No representation would be entertained on any errors if found in the RFQ. However vendors to bring such errors / omissions to the notice of BEML for necessary corrective action

##### Exhibit – A

|  | Tentative requirement of Electrical Works For Proposed Aerospace Facility at Metro Stores - Beml Limited., Bangalore Complex. Division: BEML, Bangalore Complex |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Requirement Specification |  |  |  |  |
| Sl. No. |  |  | Item Name | UOM | Quantity |
| 1 |  | BEMAFINDAC | Supply wall mounting Industrial. air circulator Supply of heavy duty, wall mounting, industrial type air circulator, size - 24", sweep - 600 mm, oscillation type, 1ph, 240V, 50 Hz. Fans to be installed on MS pillars which includes necessary angle iron fabrication works. | NO | 12 |
| 2 |  |  | Instn. wall mounting Industrial. air circulator Installation/fixing of heavy duty, wall mounting, industrial type air circulator, size - 24", sweep - 600 mm, oscillation type, 1ph, 240V, 50 Hz. Fans to be installed on MS pillars which includes necessary angle iron fabrication works. 1 AU consists of Installation of 12 Nos of Industrial air circulators | AU | 1 |
| 3 |  | BEMAFPEFAN | Supply of 18" 450mm sweep pedestal fan Supply of pedestal type fans, 1Ph, 240V, 50 Hz, size - 18", sweep – 450 mm, oscillation type, 3 speed regulation. | NO | 2 |
| 4 |  | BEMAFHBLED | Supply of 150W LED High bay luminaire Supply of High bay LED type 150W luminaries, high power LED's, cool day light, with mounting eye bolt and shall include all necessary materials required for installation. Warranty - 3 years for light fixtures. | NO | 30 |
| 5 |  |  | Instn. of 150W LED High bay luminaire Supply, installation of High bay LED type 150W luminaries, high power LED's, cool day light, with mounting eye bolt and shall include all necessary materials required for installation. Warranty - 3 years for light fixtures. 1 AU consists of Installation of 30 Nos of 150W LED High bay luminaire | AU | 1 |
| 6 |  | BEMAFSPAC1 | Supply of 2Ton Split Air conditioner Supply of Split type Air Conditioner, 2.0 ton, (min 3 star rating) with suitable capacity voltage stabilizer, operating voltage-220V single phase. The installation works include necessary length of copper piping, fixing of Outdoor and Indoor units and related works. | NO | 1 |
| 7 |  |  | Instn. of 2Ton Split Air conditioner Installation of Split type Air Conditioner, 2.0 ton, (min 3-star rating) with suitable capacity voltage stabilizer, operating voltage-220V single phase. The installation works include necessary length of copper piping, fixing of Outdoor and Indoor units and related works. | AU | 1 |
| 8 |  | BEMAFSPAC2 | Supply of 1.5Ton Split Air conditioner Installation of Split type Air Conditioner, 2.0 ton, (min 3-star rating) with suitable capacity voltage stabilizer, operating voltage-220V single phase. The installation works include necessary length of copper piping, fixing of Outdoor and Indoor units and related works. | NO | 1 |
| 9 |  |  | Instn. of 1.5Ton Split Air conditioner Supply & installation of Split type Air Conditioner, 1.5 ton, (min 3-star rating) with suitable capacity voltage stabilizer, operating voltage-220V single phase. The installation works include necessary length of copper piping, fixing of Outdoor and Indoor units and related works. | AU | 1 |
| 10 |  | BEMAF100SF | Supply of 100A switch disconnector fuse Supply of 3P+N, 100 Amps switch fuse disconnector unit complete with rated fuses, 300mm size top & bottom cable entry boxes. Switch to be installed /fixed on wall/MS pillars (as per site requirement) with necessary angle iron fabrication works and welding, etc. | NO | 6 |
| 11 |  |  | Instn. of 100A switch disconnector fuse Fixing/installation of 3P+N, 100 Amps switch fuse disconnector unit complete with rated fuses, 300mm size top & bottom cable entry boxes. Switch to be installed/fixed on wall/MS pillars (as per site requirement) with necessary angle iron fabrication works and welding, etc. 1 AU consists of Installation of 6 Nos of 100A switch disconnector fuse | AU | 1 |
| 12 |  | BEMAFINDPS | Supply of Industrial plug socket board Supply of industrial Plug & socket boards made out of sheet steel enclosure, with 300mm size bus bar chamber with 3ph+N Al bus bars of suitable size, completely internally wired, suitable for pillar/wall mounting and comprising of; Incomer - 01 No.Main 63A, TP, MCB, Outgoings - 01 No. of 1Ph, 10A, socket & plug controlled with 10A 2pole MCB. b) 01 No. of 3Ph, 32A, 3P socket & plug con trolled with 32 A TP MCB. | NO | 6 |
| 13 |  |  | Instn. of Industrial plug socket board Supply & fixing/installation of industrial Plug & socket boards made out of sheet steel enclosure, with 300mm size bus bar chamber with 3ph+N Al bus bars of suitable size, completely internally wired, suitable for pillar/wall mounting and comprising of; Incomer - 01 No.Main 63A, TP, MCB, Outgoings - a) 01 No. of 1Ph, 10A, socket & plug controlled with 10A 2pole MCB. b) 01 No. of 3Ph, 32A, 3P socket & plug controlled with 32 A TP MCB. 1 AU consists of Installation of 6 Nos of Industrial plug socket board | AU | 1 |
| 14 |  | BEMAFLTCA1 | Supply of 1.1KV 4corex25 sqmm cable Supply of 1.1KV grade 4C x 25 sqmm, PVC sheathed, PVC insulated, Copper armoured cable. | M | 125.000 |
| 15 |  |  | Laying of 1.1KV 4corex25 sqmm cable Laying, interconnecting of 1.1KV grade cables, 4core X 25 sqmm, on walls, pillars, existing cable trays... etc. and neatly laid & clamped. 1 AU consists of laying of 125M of 1.1KV 4 core x 25 sq mm cable | AU | 1 |
| 16 |  | BEMAFLTCA2 | Supply of 1.1KV 4corex16 sqmm cable Supply of 1.1KV grade 4C x 16 sqmm, PVC sheathed, PVC insulated, Copper armoured cable. | M | 100.000 |
| 17 |  |  | Laying of 1.1KV 4corex16 sqmm cable Laying, interconnecting of 1.1KV grade cables, 4core X 16 sqmm, on walls, pillars, existing cable trays... etc. and neatly laid & clamped. 1 AU consists of laying of 100M of 1.1KV 4 core x 16 sq mm cable | AU | 1 |
| 18 |  | BEMAFLTCA3 | Supply of 1.1KV 4corex1.5 sqmm cable Supply of 1.1KV grade 4C x 1.5 sqmm, PVC sheathed, PVC insulated, Copper armoured cable. | M | 300.000 |
| 19 |  |  | Laying of 1.1KV 4corex1.5 sqmm cable Laying, interconnecting of 1.1KV grade cables, 4core X 1.5 sqmm, on walls, pillars, existing cable trays... etc. and neatly laid & clamped. 1 AU consists of laying of 300M of 1.1KV 4 core x 1.5 sq mm cable | AU | 1 |
| 20 |  | BEMAFENDT1 | Supply end termination kit 4cx25sqmm Supply of end terminations with suitable size cable lugs, brass cable glands, crimping etc, complete as required for 4 core x 25 sqmm copper cable. | NO | 12 |
| 21 |  |  | Making end termination for 4cx25sqmm Making end terminations with suitable size cable lugs, brass cable glands, crimping etc, complete as required for 4 core x 25 sqmm copper cable 1 AU consists of installation of 12 nos of End terminations | AU | 1 |
| 22 |  | BEMAFENDT2 | Supply end termination kit 4cx16sqmm Supply of end terminations with suitable size cable lugs, brass cable glands, crimping etc, complete as required for 4 core x 16 sqmm copper cable. | NO | 16 |
| 23 |  |  | Making end termination for 4cx16sqmm Making end terminations with suitable size cable lugs, brass cable glands, crimping etc, complete as required for 4 core x 16 sqmm copper cable 1 AU consists of installation of 16 nos of End terminations | AU | 1 |
| 24 |  | BEMAFMCB1A | Supply of VTPN DB in metal enclosure Supply of VTPN DB (fan & AC control) in a metal enclosure with hinged doors comprising of: (a) Incomer: 01 no. 63A 4Pole MCB (b) Outgoings: 08 nos. 10A Single pole MCB, 02 nos. 25A DP MCB | NO | 2 |
| 25 |  |  | Instn. of VTPN DB in metal enclosure Installation/fixing of VTPN DB (fan & AC control) in a metal enclosure with hinged doors comprising of: (a) Incomer: 01 no. 63A 4Pole MCB (b) Outgoings: 08 nos. 10A Single pole MCB, 02 nos. 25A DP MCB 1 AU consists of Installation of 2 Nos of VTPN DB | AU | 1 |
| 26 |  | BEMAFMCB2A | Supply of 10A MCB in metal enclosure Supply of 10A 2 pole MCB in a metal enclosure for fan control point. | NO | 12 |
| 27 |  |  | Instn. of 10A MCB in metal enclosure Fixing of 10A 2 pole MCB in a metal enclosure for fan control point. 1 AU consists of Installation of 12 no’s of 10 A MCB | AU | 1 |
| 28 |  | BEMAFSWSOC | Supply of heavy-duty switch socket Supply of heavy-duty type switch & socket box comprising of 01 No. 16A, multi pin socket controlled by 16A modular type switch for AC point. | NO | 2 |
| 29 |  |  | Installation of heavy-duty switch socket Fixing of heavy duty type switch & socket box comprising of 01 No. 16A, multi pin socket controlled by 16A modular type switch for AC point. 1 AU consists of Installation of 2 Nos of Heavy duty switch socket | AU | 1 |
|  | Sub: Electrical Works for Proposed Aerospace Facility at Metro Stores - Beml Limited., Bangalore Complex. TERMS AND CONDITIONS: 1. INSTALLATION & COMMISSIONING: It is the entire responsibility of contractor to install, interconnect, test & commission the electrical fittings, equipment etc., as indicated in the Bill of Quantities up to the entire satisfaction of BEML. BEML will provide only the necessary and available material handling equipment for erection on request. If any other facilities required for carrying out the subject work like civil work, welding sets etc., shall be arranged by contractor only. 2. The firm shall visit the site to ascertain the site condition and to get any technical clarifications before submitting the offer. 3. The firm shall quote break up towards material cost and Labour cost separately. 4. The firm shall carry out the entire Scope of work, Technical specification & Terms and conditions. 5. The supply/execution of the work is subject to acceptance by our Inspection/Electrical maintenance/user department. 6. You should make good the damages caused if any during the course of work. 7. You are solely responsible for making good the damages occurring on account of any possible accident to your labour force due to failure to take safety measures. 8. In the event of any accident / injury / disablement, you shall arrange to pay the requisite compensation, legally payable to the concerned worker/dependents, and absolve BEML in case of any claims arising thereafter. 9. You should collect complete/detail scope of work from our Electrical Maintenance and should execute the work as per direction of Engineer-in-charge. 10. Offers are solicited preferably from Class-I Electrical contractor who are in the field of execution of such contracts (both technically & volume of work wise) 11. The firm shall indicate any deviation / addition / alteration required in view of completion of work compared to the scope of work indicated. 12. Cable shall be laid as per the route decided by Engineer in charge, Electrical maintenance dept., and wherever cable is laid on wall / pillars, MS angle brackets to be provided and neatly clamped. 13. On No account, you should delay in supply / execution of the work. NOTE:L1 status will be considered as 1 AU for Electrical Works For Proposed Aerospace Facility at Metro Stores - Beml Limited., Bangalore Complex. Note: - The tendering process is E-Mode - You should have Digital Signature Certificate (class III) issued by authorized agencies to submit commercial bid on E-mode. - Please open the collaboration folder to view Tender Documents (PART A, PART B & covering letter) - Kindly go through all the tender documents and bid accordingly. - To be delivered to BEML Bangalore Complex on FOR basis. - Quotation should be valid for 120 days from date of tender opening. - FAX/E-mail/Manual quotations are not acceptable and quotations received through these modes will be rejected. Incomplete and conditional offers are also liable for rejection. - If any of the vendors have defaulted in supplies/services to BEML limited after placement of purchase order or If any of the vendors have backed out from their quotation submitted for the enquires of BEML limited or If any of the vendors have given wrong Information/documents to BEML Limited along with quotations, their quotation will not be considered and their quotation will be rejected. The quotations of the Firms who have not provided Service during the Warranty period of any product supplied by them to BEML Ltd will not be considered & will be rejected. - Corrigendum if any will be updated in BEML website only. - For any technical difficulty in submitting the Bid, please contact Mr.KrishnaMohan in the following numbers: 080-22963269 / 22963141. - Any clarification in the tender, please contact Mr. UDAY KUMAR in 080-25348770 / 25022638/25022635, E-Mail ID: rmm-1@beml.co.in Delivery : February 2020 |  |  |  |  |